## 2026_Town_Dam_Month-to-Date_Wat
Form Completed By: | Date and Time of Check-In | Hwy 557 Ruler | Dam Ruler (N/A when Logs Out) | Is Water Level In Compliance | OOC Comment | GM Steps to Correct (new) | Weather (temperature in celsius) | Water Management Plan Period | Type of Check-In | Bay 1: TURBINES | Bay 2: 6 Logs Maximum | Bay 3: 8 Logs Maximum | Bay 4: 10 Logs Maximum | Bay 5: MECH GATE MAX 9 Logs | Bay 1 After change: TURBINES | Bay 2 After change: 6 Logs Maximum | Bay 3 after change: 8 Logs Maximum | Bay 4 after change: 10 Logs Maximum | Bay 5 after change: MECH GATE MAX 9 Logs | Dam Ruler After Log Changes | WATER TEMPERATURE if required
Greg | 2026-08-24 11:43 a.m. |  | 61 on ruler | YES |  |  | 17 overcast | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Greg | 2026-08-24 9:27 a.m. | Fluctuating 60.5 to 61 |  | YES |  |  | 18 overcast | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Dana | 2026-08-23 9:57 a.m. | .61-.615 |  | Yes, but need to provide additional information regarding Water Levels | Will monitor upstream flows and rainfall tonight and additional forecasted this week to open when needed. Current rate of increase ok to hold and continue to move towards top of compliance. |  | 15, very windy | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Dana | 2026-08-22 11:05 a.m. | .61 (up .5cm from rain) |  | Yes, but need to provide additional information regarding Water Levels | 70% ~5mm tomorrow, 40% ~1mm Monday, 80% 5-10mm Wed; 60% 1-3mm thur (rain potential as of now in forecast for next 5 days). 3 logs out (1 per bay) not affecting level as we are not spilling over them. Monitoring level and rain and will open if needed as levels move towards upper end of compliance from bottom if forecasted rain stays on track. Also monitoring flow incoming from upstream to adjust for same. |  | 18, overcast 40% ~1mm this afternoon, 70% this evening ~1mm and 40% ~1mm overnight. | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-21 11:32 a.m. |  | 60.5 | YES |  |  | 21 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-21 9:32 a.m. | 60.5 |  | YES |  |  | 21 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-20 11:07 a.m. |  | 61 | YES |  |  | 21 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-20 9:09 a.m. | 61 |  | YES |  |  | 17 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-08-19 10:58 a.m. |  | 0.615 | YES |  |  | 22 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-08-19 9:06 a.m. | 0.61 |  | YES |  |  | 15 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-18 9:09 a.m. | 61 |  | YES |  |  | 21 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-08-17 11:04 a.m. |  | 0.615 | YES |  |  | 22 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-08-17 9:01 a.m. | 0.615 |  | YES |  |  | 18 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-16 7:05 a.m. | 61 |  | YES |  |  | 21 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-15 6:19 a.m. |  | 61 | YES |  |  | 17 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-14 2:25 p.m. |  | 61 | YES |  |  | 27 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-14 9:23 a.m. | 61 |  | YES |  |  | 21 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-13 3:32 p.m. |  | 61 | YES |  |  | 28 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-13 1:38 p.m. | 61 |  | YES |  |  | 28 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-12 12:32 p.m. |  | 61 | YES |  |  | 25 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-12 9:20 a.m. | 61.5 |  | YES |  |  | 20 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-11 12:02 p.m. |  | 61.5 | YES |  |  | 25 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-11 9:20 a.m. | 62 |  | YES |  |  | 19 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Greg | 2026-08-10 12:23 p.m. |  | 61 | YES |  |  | 23 sunny | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | GATE CLOSED = NO LOGS OUT
Greg | 2026-08-10 9:12 a.m. | 61.5 - 62 |  | YES |  |  | 23 overcast | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out
Dana | 2026-08-09 9:19 a.m. | .62, calm |  | Yes, but need to provide additional information regarding Water Levels | Likely closing remaining .5 log on mechanical gate today or tomorrow. 1 log out in each of the 3 log bays not affecting level as they are not spilling above them. |  | 15C, minimal chance of rain in 14-day forecast | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out
Zoran | 2026-08-07 11:15 a.m. |  | 0.615 | YES |  |  | 23 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Zoran | 2026-08-07 9:29 a.m. | .6175 (.61-.63) |  | YES |  |  | 20 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Zoran | 2026-08-06 11:29 a.m. |  | 0.6175 | YES |  |  | 24 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out | 0.6175
Zoran | 2026-08-06 9:33 a.m. | 0.625 |  | YES |  |  | 21 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Zoran | 2026-08-05 2:54 p.m. |  | 0.625 | YES |  |  | 22 | Jun. 1 to Sep. 30 | RULER only Dam |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Zoran | 2026-08-05 2:25 p.m. | 0.625 |  | YES |  |  | 22 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Zoran | 2026-08-05 11:17 a.m. |  | 0.6275 | YES |  |  | 20 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Zoran | 2026-08-05 9:17 a.m. | 0.63 |  | YES |  |  | 19 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Greg | 2026-08-04 9:22 a.m. | 63.5 |  | YES |  |  | 18 sunny | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Zoran | 2026-08-03 11:09 a.m. |  | 0.63 | YES |  |  | 24 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out | 0.63
Zoran | 2026-08-03 9:10 a.m. | 0.645 |  | YES |  |  | 22 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Zoran | 2026-08-02 8:54 a.m. |  | 0.655 | YES |  |  | 17 | Jun. 1 to Sep. 30 | RULER only Dam |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Zoran | 2026-08-01 6:43 p.m. |  | 0.655 | Yes, but need to provide additional information regarding Water Levels | 50-80mm weather warning in effect. 80% of ~19mm rain in next 2 hrs; opened gate further |  | 24 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out | 0.655
Zoran | 2026-08-01 11:16 a.m. |  | 0.6675 | NO | Heavy rain from Storm last night jumped level. | Opened gate to 1.5 to bring into compliance and make room for more rain forecasted today. Weather statement potential of 50-100mm and if received will need to open further as grounds are saturated/DS. | 22 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out | 0.66
Zoran | 2026-08-01 10:01 a.m. | 0.67 |  | No, but only 557 checked so far |  |  | 22 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-31 11:45 a.m. |  | 0.61 | YES |  |  | 25 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-31 9:15 a.m. | 0.61 |  | YES |  |  | 18 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-30 11:21 a.m. |  | 0.61 | YES |  |  | 25 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-30 9:19 a.m. | 0.615 |  | YES |  |  | 20 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-29 9:00 p.m. | 0.62 |  | YES |  |  | 20 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-29 1:53 p.m. |  | 0.63 | YES |  |  | 28 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-28 11:14 a.m. |  | .64(.63-.65) | YES |  |  | 23 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-27 11:10 a.m. |  | 0.63 | YES |  |  | 21 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-27 9:16 a.m. | 0.63 |  | YES |  |  | 21 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-07-26 7:31 a.m. | 62.5-63 |  | YES |  |  | 19 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-07-25 7:57 a.m. |  | 62.5 | YES |  |  | 19 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED