{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["2024_Town_Dam_Month-to-Date_Wat"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2024_Town_Dam_Month-to-Date_Wat","index":0,"n_rows":77,"n_cols":22,"rows_kept":77,"cut":false,"hidden":false,"merged":[]}
["Form Completed By:","Date and Time of Check-In","Type of Check-In","Hwy 557 Ruler","Dam Ruler (N/A when Logs Out)","Is Water Level In Compliance","Which Ruler is in Compliance?","Weather (temperature in celsius)","WATER TEMPERATURE if required","Water Management Plan Period","Bay 1: TURBINES","Bay 2: 6 Logs Maximum","Bay 3: 8 Logs Maximum","Bay 4: 10 Logs Maximum","Bay 5: MECH GATE MAX 9 Logs","Bay 1 After change: TURBINES","Bay 2 After change: 6 Logs Maximum","Bay 3 after change: 8 Logs Maximum","Bay 4 after change: 10 Logs Maximum","Bay 5 after change: MECH GATE MAX 9 Logs","OOC Comment","Dam Ruler After Log Changes"]
["Zoran","2025-01-31T15:02:00","ONSITE both Headpond & Powerhouse",null,0.57999999999999996,"YES","557 ruler",-1,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Zoran","2025-01-31T09:27:00","RULER only 557 bridge",0.62,null,"YES","557 ruler",-5,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Zoran","2025-01-30T13:54:00","ONSITE both Headpond & Powerhouse",null,0.56999999999999995,"YES","557 ruler",0,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Matt","2025-01-30T09:41:00","RULER only 557 bridge",62,null,"YES","557 ruler","-10c",null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Matt","2025-01-29T13:36:00","ONSITE both Headpond & Powerhouse",null,56,"NO",null,"-9c",null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",{"$nulls":5},"Low water. Coming from upper."]
["Colin","2025-01-29T09:48:00","RULER only 557 bridge",62,null,"YES","557 ruler",-12,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Zoran","2025-01-28T11:35:00","ONSITE both Headpond & Powerhouse",null,0.56000000000000005,"YES","557 ruler",-14,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Zoran","2025-01-28T09:26:00","RULER only 557 bridge",0.6,null,"YES","557 ruler",-18,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Matt","2025-01-27T11:12:00","ONSITE both Headpond & Powerhouse",null,54,"NO",null,"-1c",null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out","Low water."]
["Greg","2025-01-27T09:26:00","RULER only 557 bridge","58 bouncing between 57 - 59",null,"NO",null,"0 sunny and windy ",null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out",{"$nulls":5},"Will close mechanical gate at Blind River dam to help with level."]
["Colin","2025-01-24T15:39:00","ONSITE both Headpond & Powerhouse",null,55,"YES","557 ruler",-14,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Colin","2025-01-24T10:26:00","RULER only 557 bridge",61,null,"YES","557 ruler",-14,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Greg","2025-01-23T11:33:00","ONSITE both Headpond & Powerhouse",null,55,"YES","557 ruler","-8 sunny",null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Colin","2025-01-23T09:40:00","RULER only 557 bridge",61,null,"YES","557 ruler",-9,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Greg","2025-01-22T11:48:00","ONSITE both Headpond & Powerhouse",null,55,"YES","557 ruler","-9 windy blowing snow",null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Colin","2025-01-22T09:44:00","RULER only 557 bridge",61,null,"YES","557 ruler",-9,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Colin","2025-01-21T15:59:00","ONSITE both Headpond & Powerhouse",null,55,"YES","557 ruler",-12,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Colin","2025-01-21T10:15:00","RULER only 557 bridge",61,null,"YES","557 ruler",-16,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Greg","2025-01-20T13:57:00","ONSITE both Headpond & Powerhouse",null,53,"YES","557 ruler","- 12 sunny",null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out",null,53]
["Colin","2025-01-20T09:46:00","RULER only 557 bridge",".605 (edit/ds per pic)",null,"YES","557 ruler",-22,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Colin","2025-01-19T07:57:00","RULER only 557 bridge",".60-.605 (ds/Corrected from pic )",null,"YES","557 ruler",-19,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Colin","2025-01-18T08:51:00","ONSITE both Headpond & Powerhouse",null,54,"YES","557 ruler",-5,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Colin","2025-01-18T08:27:00","RULER only 557 bridge",".60 (edit to correct per pic/ds)",null,"YES","557 ruler",-5,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5.5 Logs Out"]
["Colin","2025-01-17T15:04:00","ONSITE both Headpond & Powerhouse",null,55,"YES","557 ruler",1,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","5.5 Logs Out"]
["Colin","2025-01-17T14:44:00","RULER only 557 bridge",63,null,"YES","557 ruler",1,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Dana","2025-01-17T07:18:00","RULER only 557 bridge",".625 (upstream ruler, .63 downstream ruler)",null,"YES","557 ruler","-3C",null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Colin","2025-01-16T15:46:00","ONSITE only Powerhouse",null,null,"YES","557 ruler",null,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Zoran","2025-01-16T12:03:00","RULER only 557 bridge",0.63,null,"YES","557 ruler",-3,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Colin","2025-01-16T11:38:00","ONSITE both Headpond & Powerhouse",null,56,"YES","557 ruler",-4,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Colin","2025-01-16T09:46:00","RULER only 557 bridge",63,null,"YES","557 ruler",-4,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Jason","2025-01-16T08:35:00","ONSITE both Headpond & Powerhouse",null,56,"NO",null,-7,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out",{"$nulls":5},"High water "]
["Zoran","2025-01-15T15:24:00","ONSITE both Headpond & Powerhouse",null,0.56000000000000005,"YES","557 ruler",-6,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Zoran","2025-01-15T11:04:00","RULER only 557 bridge",0.63,null,"YES","557 ruler",-8,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Colin","2025-01-14T13:20:00","ONSITE both Headpond & Powerhouse",null,55,"YES","557 ruler",-3,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Colin","2025-01-14T09:24:00","RULER only 557 bridge",62,null,"YES","557 ruler",-10,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Colin","2025-01-13T12:12:00","ONSITE both Headpond & Powerhouse",null,53,"YES","557 ruler",-2,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Colin","2025-01-13T09:43:00","RULER only 557 bridge",62,null,"YES","557 ruler",-2,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5.5 Logs Out"]
["Zoran","2025-01-11T11:40:00","ONSITE only Headpond",null,0.54,"YES","557 ruler",-2,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","6 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","5.5 Logs Out",null,0.54]
["Zoran","2025-01-11T09:34:00","RULER only 557 bridge",0.63,null,"YES","557 ruler",-3,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","6 Logs Out"]
["Dana","2025-01-10T16:11:00","RULER only 557 bridge",0.64,null,"YES","557 ruler","-3C, snowing",null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","6 Logs Out"]
["Matt","2025-01-10T12:40:00","ONSITE both Headpond & Powerhouse",null,57,"YES","557 ruler","-1c",null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","6 Logs Out",null,57]
["Colin","2025-01-10T09:28:00","RULER only 557 bridge",64.5,null,"YES","557 ruler",-2,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Greg","2025-01-09T14:09:00","RULER only 557 bridge",63,null,"YES","557 ruler","-6 sunny ",null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Zoran","2025-01-09T13:44:00","ONSITE both Headpond & Powerhouse",null,0.56999999999999995,"NO",null,-7,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out","Under compliance. More water coming from upstream.",0.56999999999999995]
["Greg","2025-01-09T10:00:00","RULER only 557 bridge",62.5,null,"YES","557 ruler","-15 sunny",null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Dana","2025-01-08T21:54:00","ONSITE both Headpond & Powerhouse",null,0.55000000000000004,"YES","557 ruler","-18C",null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out",null,0.55000000000000004]
["Dana","2025-01-08T21:28:00","RULER only 557 bridge",0.60750000000000004,null,"YES","557 ruler","-19C",null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Greg","2025-01-08T16:16:00","RULER only 557 bridge",59.5,null,"NO",null,"-12 sunny ",null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",{"$nulls":5},"Water is on its way as adjustments made upstream "]
["Greg","2025-01-08T12:21:00","ONSITE both Headpond & Powerhouse",null,54,"NO",null,"-20 sunny ",null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",{"$nulls":5},"Water is on its way as adjustments made upstream."]
["Colin","2025-01-08T11:39:00","RULER only 557 bridge",58.5,null,"NO",null,-17,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",{"$nulls":5},"Logs were pulled upstream level is coming up slowly"]
["Greg","2025-01-08T09:44:00","RULER only 557 bridge",58,null,"NO",null,"-20 sunny",null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",{"$nulls":5},"Water on its way as log adjustments have been made upstream "]
["Dana","2025-01-08T06:56:00","RULER only 557 bridge",0.57999999999999996,null,"NO",null,"-23C",null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",{"$nulls":5},"Coming up slowly from upstream water"]
["Zoran","2025-01-07T16:12:00","ONSITE both Headpond & Powerhouse",null,0.5,"NO",null,-10,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out","Under compliance. More water expected to come from upstream.",0.5]
["Colin","2025-01-07T15:55:00","RULER only 557 bridge",55,null,"NO",null,-10,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out",{"$nulls":5},"Pulled logs upstream water should rise soon"]
["Colin","2025-01-07T11:44:00","RULER only 557 bridge",55,null,"NO",null,-11,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out",{"$nulls":5},"Pulled logs upstream water is rising slowly"]
["Zoran","2025-01-07T09:45:00","RULER only 557 bridge",0.55000000000000004,null,"NO",null,-14,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out",{"$nulls":5},"Under compliance. More water coming from upstream."]
["Dana","2025-01-07T06:41:00","RULER only 557 bridge",0.54,null,"NO",null,"-14C",null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out",{"$nulls":5},"Coming up as scarfe water arrives "]
["Dana","2025-01-06T21:48:00","RULER only 557 bridge",".53, calm",null,"NO",null,"-8C",null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out",{"$nulls":5},"Beginning to receive water from Scarfe. Will adjust in morning if needed. "]
["Jason","2025-01-06T16:08:00","RULER only 557 bridge",52,null,"NO",null,-6,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out",{"$nulls":5},"Water to because of rain "]
["Matt","2025-01-06T15:12:00","ONSITE only Headpond",null,46,"NO",null,"-6c",null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out","On its way."]
["Colin","2025-01-06T15:00:00","RULER only 557 bridge",52,null,"NO",null,-6,null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out",{"$nulls":5},"Just pulled upstream water should start to rise soon"]
["Greg","2025-01-06T11:30:00","ONSITE both Headpond & Powerhouse",null,43,"NO",null,"-8 overcast ,light snow",null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","6 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"," Log adjustments upstream will send water to help with level."]
["Greg","2025-01-06T11:03:00","RULER only 557 bridge","Slight bouncing between 52 & 53 holding more at 53",null,"NO",null,"-8 overcast ",null,"Jan. 1 to Jan. 31",null,"1 Log Out","1 Log Out ","1 Log Out ","6 Logs Out",{"$nulls":5}," Log adjustments made upstream and water is coming to help level"]
["Dana","2025-01-06T06:42:00","RULER only 557 bridge",0.53,null,"NO",null,"-12C",null,"Jan. 1 to Jan. 31",null,"1 Log Out","1 Log Out ","1 Log Out ","6 Logs Out",{"$nulls":5},"Low, anticipating upstream water."]
["Colin","2025-01-05T14:01:00","ONSITE both Headpond & Powerhouse",null,50,"NO",null,-6,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","6.5 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","1 Log Out ","6 Logs Out","Closed mechanical bay a bit and pulled logs upstream water should come up soon"]
["Dana","2025-01-05T13:37:00","RULER only 557 bridge",".535, upstream water coming",null,"NO",null,-9,null,"Jan. 1 to Jan. 31",null,"1 Log Out","1 Log Out ","1 Log Out ","6.5 Logs Out",{"$nulls":5},"Waiting for upstream water to arrive "]
["Colin","2025-01-05T08:46:00","RULER only 557 bridge",55,null,"NO",null,-10,null,"Jan. 1 to Jan. 31",null,"1 Log Out","1 Log Out ","1 Log Out ","6.5 Logs Out",{"$nulls":5},"Water on its way from upstream"]
["Colin","2025-01-04T09:23:00","RULER only 557 bridge",58,null,"NO",null,-10,null,"Jan. 1 to Jan. 31",null,"1 Log Out","1 Log Out ","1 Log Out ","6.5 Logs Out",{"$nulls":5},"Just pulled 2 logs at scarfe water will come up slowly"]
["Zoran","2025-01-03T14:50:00","ONSITE both Headpond & Powerhouse",null,51,"YES","557 ruler",-10,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","7 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","1 Log Out ","6.5 Logs Out",null,51]
["Zoran","2025-01-03T14:19:00","RULER only 557 bridge",0.61,null,"YES","557 ruler",-10,null,"Jan. 1 to Jan. 31",null,"1 Log Out","1 Log Out ","1 Log Out ","7 Logs Out"]
["Dana","2025-01-03T06:33:00","RULER only 557 bridge",0.62,null,"YES","557 ruler","-11C",null,"Jan. 1 to Jan. 31",null,"1 Log Out","1 Log Out ","1 Log Out ","7 Logs Out"]
["Colin","2025-01-02T15:23:00","ONSITE both Headpond & Powerhouse",null,55,"YES","557 ruler",-2,null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","6 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","1 Log Out ","7 Logs Out"]
["Colin","2025-01-02T12:01:00","RULER only 557 bridge",64,null,"YES","557 ruler",-1,null,"Jan. 1 to Jan. 31",null,"1 Log Out","1 Log Out ","1 Log Out ","6 Logs Out"]
["Matt","2025-01-02T10:23:00","ONSITE both Headpond & Powerhouse",null,52,"NO",null,"-4c",null,"Jan. 1 to Jan. 31","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","7 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","1 Log Out ","6 Logs Out","Lack of water."]
["Colin","2025-01-02T09:23:00","RULER only 557 bridge",64,null,"YES","557 ruler",-2,null,"Jan. 1 to Jan. 31",null,"1 Log Out","1 Log Out ","1 Log Out ","7 Logs Out"]
["Dana","2025-01-01T11:09:00","RULER only 557 bridge",0.66,null,"YES","557 ruler","-1C",null,"Dec. 1 to Dec. 31",null,"1 Log Out","1 Log Out ","1 Log Out ","7 Logs Out"]