{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["2024_Town_Dam_Month-to-Date_Wat"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2024_Town_Dam_Month-to-Date_Wat","index":0,"n_rows":67,"n_cols":22,"rows_kept":67,"cut":false,"hidden":false,"merged":[]}
["Form Completed By:","Date and Time of Check-In","Type of Check-In","Hwy 557 Ruler","Dam Ruler (N/A when Logs Out)","Is Water Level In Compliance","Which Ruler is in Compliance?","Weather (temperature in celsius)","WATER TEMPERATURE if required","Water Management Plan Period","Bay 1: TURBINES","Bay 2: 6 Logs Maximum","Bay 3: 8 Logs Maximum","Bay 4: 10 Logs Maximum","Bay 5: MECH GATE MAX 9 Logs","Bay 1 After change: TURBINES","Bay 2 After change: 6 Logs Maximum","Bay 3 after change: 8 Logs Maximum","Bay 4 after change: 10 Logs Maximum","Bay 5 after change: MECH GATE MAX 9 Logs","OOC Comment","Dam Ruler After Log Changes"]
["Zoran","2025-03-26T16:15:00","ONSITE both Headpond & Powerhouse",null,23,"NO",null,3,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","4.5 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","2.5 Logs Out","Under compliance. Mechanical gate closed.",28]
["Zoran","2025-03-26T12:47:00","RULER only 557 bridge",0.56000000000000005,null,"NO",null,2,null,"Feb. 1 to Mar. 31",null,"5 Logs Out","6 Logs Out","6 Logs Out","4.5 Logs Out",{"$nulls":5},"Under compliance. Will close the gate today."]
["Zoran","2025-03-25T15:08:00","ONSITE both Headpond & Powerhouse",null,0.21,"NO",null,-1,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","5.5 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","4.5 Logs Out","Under compliance. Closed mechanical gate.",22]
["Zoran","2025-03-25T10:44:00","RULER only 557 bridge",0.57499999999999996,null,"NO",null,-1,null,"Feb. 1 to Mar. 31",null,"5 Logs Out","6 Logs Out","6 Logs Out","5.5 Logs Out",{"$nulls":5},"Under compliance. May adjust once the upstream levels are confirmed as well as weather forecast. Lake Duborne is still ice covered."]
["Greg","2025-03-24T14:12:00","ONSITE both Headpond & Powerhouse",null,20,"YES","557 ruler","0 light snow",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","6 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","5.5 Logs Out",null,20]
["Colin","2025-03-24T13:02:00","RULER only 557 bridge",60,null,"YES","557 ruler",2,null,"Feb. 1 to Mar. 31",null,"5 Logs Out","6 Logs Out","6 Logs Out","6 Logs Out"]
["Kevin","2025-03-24T09:14:00","RULER only 557 bridge",".60 (.5975-.61)",null,"YES","557 ruler","-4C",null,"Feb. 1 to Mar. 31",null,"5 Logs Out","6 Logs Out","6 Logs Out","6 Logs Out"]
["Colin","2025-03-23T08:53:00","RULER only 557 bridge",62,null,"YES","557 ruler",-9,null,"Feb. 1 to Mar. 31",null,"5 Logs Out","6 Logs Out","6 Logs Out","6 Logs Out"]
["Colin","2025-03-22T08:47:00","ONSITE only Headpond",null,31,"YES","557 ruler",-7,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","4.5 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","6 Logs Out"]
["Colin","2025-03-22T08:32:00","RULER only 557 bridge",63,null,"YES","557 ruler",-8,null,"Feb. 1 to Mar. 31",null,"5 Logs Out","6 Logs Out","6 Logs Out","4.5 Logs Out"]
["Zoran","2025-03-21T14:49:00","ONSITE both Headpond & Powerhouse",null,32,"YES","557 ruler",4,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","3.5 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","4.5 Logs Out",null,31]
["Dana","2025-03-21T06:49:00","RULER only 557 bridge",".61-.615",null,"YES","557 ruler","-8C",null,"Feb. 1 to Mar. 31",null,"5 Logs Out","6 Logs Out","6 Logs Out","3.5 Logs Out"]
["Colin","2025-03-20T15:28:00","RULER only 557 bridge",60,null,"YES","557 ruler",2,null,"Feb. 1 to Mar. 31",null,"5 Logs Out","6 Logs Out","6 Logs Out","3.5 Logs Out"]
["Colin","2025-03-20T14:46:00","ONSITE both Headpond & Powerhouse",null,29,"YES","557 ruler",2,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","4 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","3.5 Logs Out"]
["Colin","2025-03-20T12:19:00","RULER only 557 bridge",60,null,"YES","557 ruler",2,null,"Feb. 1 to Mar. 31",null,"5 Logs Out","6 Logs Out","6 Logs Out","4 Logs Out"]
["Dana","2025-03-20T06:30:00","RULER only 557 bridge",".605 (.60-.6075)",null,"YES","557 ruler","-1C, rain",null,"Feb. 1 to Mar. 31",null,"5 Logs Out","6 Logs Out","6 Logs Out","4 Logs Out"]
["Colin","2025-03-19T13:16:00","RULER only 557 bridge",61,null,"YES","557 ruler",6,null,"Feb. 1 to Mar. 31",null,"5 Logs Out","6 Logs Out","6 Logs Out","4 Logs Out"]
["Colin","2025-03-19T09:49:00","ONSITE both Headpond & Powerhouse",null,30,"YES","557 ruler",7,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","5 Logs Out","5 Logs Out","6 Logs Out","5 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","4 Logs Out",null,30]
["Dana","2025-03-19T06:02:00","RULER only 557 bridge",0.62,null,"YES","557 ruler","2C, weather statement in effect 15-25mm rain this afternoon to tomorrow afternoon",null,"Feb. 1 to Mar. 31",null,"5 Logs Out","5 Logs Out","6 Logs Out","5 Logs Out"]
["Colin","2025-03-18T15:24:00","RULER only 557 bridge",63.5,null,"YES","557 ruler",6,null,"Feb. 1 to Mar. 31",null,"5 Logs Out","5 Logs Out","6 Logs Out","5 Logs Out"]
["Colin","2025-03-18T15:04:00","ONSITE only Headpond",null,31,"YES","557 ruler",5,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","4 Logs Out","5 Logs Out","5 Logs Out","7 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","5 Logs Out","6 Logs Out","5 Logs Out",null,31]
["Zoran","2025-03-18T12:12:00","ONSITE both Headpond & Powerhouse",null,0.4,"YES","557 ruler",8,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","4 Logs Out","5 Logs Out","5 Logs Out","5 Logs Out","Both OFF = NO LOGS OUT","4 Logs Out","5 Logs Out","5 Logs Out","7 Logs Out",null,0.34]
["Zoran","2025-03-18T11:43:00","RULER only 557 bridge",0.65,null,"YES","557 ruler",8,null,"Feb. 1 to Mar. 31",null,"4 Logs Out","5 Logs Out","5 Logs Out","5 Logs Out"]
["Dana","2025-03-18T06:18:00","RULER only 557 bridge",".645 (.64-.65)",null,"YES","557 ruler","-1C ",null,"Feb. 1 to Mar. 31",null,"4 Logs Out","5 Logs Out","5 Logs Out","5 Logs Out"]
["Colin","2025-03-17T14:35:00","ONSITE only Headpond",null,42,"YES","557 ruler",1,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","4 Logs Out","4 Logs Out","7 Logs Out","Both OFF = NO LOGS OUT","4 Logs Out","5 Logs Out","5 Logs Out","5 Logs Out"]
["Colin","2025-03-17T12:46:00","RULER only 557 bridge",65,null,"YES","557 ruler",-1,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","4 Logs Out","4 Logs Out","7 Logs Out"]
["Greg","2025-03-17T12:07:00","ONSITE both Headpond & Powerhouse",null,49,"NO",null,"-3 sunny ",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","4 Logs Out","4 Logs Out","5.5 Logs Out","Both OFF = NO LOGS OUT","3 Logs Out","4 Logs Out","4 Logs Out","7 Logs Out","Water is on its way from upstream.",44]
["Colin","2025-03-17T09:46:00","RULER only 557 bridge",65,null,"YES","557 ruler",-5,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","4 Logs Out","4 Logs Out","5.5 Logs Out"]
["Zoran","2025-03-16T10:58:00","ONSITE only Headpond",null,0.49,"YES","557 ruler",4,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","4 Logs Out","4 Logs Out","4.5 Logs Out","Both OFF = NO LOGS OUT","3 Logs Out","4 Logs Out","4 Logs Out","5.5 Logs Out",null,47]
["Zoran","2025-03-16T09:36:00","RULER only 557 bridge",0.61,null,"YES","557 ruler",4,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","4 Logs Out","4 Logs Out","4.5 Logs Out"]
["Zoran","2025-03-15T10:57:00","ONSITE only Headpond",null,0.48,"YES","557 ruler",7,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","4 Logs Out","4 Logs Out","4 Logs Out","Both OFF = NO LOGS OUT","3 Logs Out","4 Logs Out","4 Logs Out","4.5 Logs Out",null,48]
["Zoran","2025-03-15T09:32:00","RULER only 557 bridge",0.6,null,"YES","557 ruler",7,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","4 Logs Out","4 Logs Out","4 Logs Out"]
["Matt","2025-03-14T15:39:00","ONSITE only Headpond",null,47,"NO",null,"9c",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","4 Logs Out","4 Logs Out","4 Logs Out",{"$nulls":5},"MNR water on its way,along with spring melt."]
["Colin","2025-03-14T12:24:00","RULER only 557 bridge",59,null,"NO",null,4,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","4 Logs Out","4 Logs Out","4 Logs Out",{"$nulls":5},"Water on its way"]
["Colin","2025-03-14T09:32:00","RULER only 557 bridge",59,null,"NO",null,1,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","4 Logs Out","4 Logs Out","4 Logs Out",{"$nulls":5},"Water on its way from upstream, plus heavy rain and mild temps expected this weekend.(15-20mm Saturday, 1-3mm Sunday)"]
["Matt","2025-03-13T14:56:00","ONSITE only Headpond",null,49,"NO",null,"6c",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","3 Logs Out","4 Logs Out","4.5 Logs Out","Both OFF = NO LOGS OUT","3 Logs Out","4 Logs Out","4 Logs Out","4 Logs Out","MNR sending water this way."]
["Colin","2025-03-13T13:15:00","RULER only 557 bridge",59,null,"NO",null,5,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","4 Logs Out","4.5 Logs Out",{"$nulls":5},"Water on its way"]
["Colin","2025-03-13T09:46:00","RULER only 557 bridge",59,null,"NO",null,-1,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","4 Logs Out","4.5 Logs Out",{"$nulls":5},"Water on its way"]
["Colin","2025-03-12T15:58:00","RULER only 557 bridge",59,null,"NO",null,4,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","4 Logs Out","4.5 Logs Out",{"$nulls":5},"Water on its way"]
["Matt","2025-03-12T11:50:00","ONSITE only Headpond",null,47,"NO",null,"-1c",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","3 Logs Out","4 Logs Out","4.5 Logs Out",{"$nulls":5},"MNR sending water."]
["Dana","2025-03-12T07:23:00","RULER only 557 bridge",".575 (.57-.58)",null,"NO",null,"-9C",null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","4 Logs Out","4.5 Logs Out",{"$nulls":5},"Incoming water from upstream."]
["Matt","2025-03-11T15:22:00","ONSITE only Headpond",null,47,"NO",null,"4c",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","3 Logs Out","3 Logs Out","5.5 Logs Out","Both OFF = NO LOGS OUT","3 Logs Out","3 Logs Out","4 Logs Out","4.5 Logs Out","MNR to open up stream."]
["Colin","2025-03-11T14:44:00","RULER only 557 bridge",58,null,"NO",null,4,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","5.5 Logs Out",{"$nulls":5},"Water on its way"]
["Colin","2025-03-11T09:27:00","RULER only 557 bridge",58,null,"NO",null,2,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","5.5 Logs Out",{"$nulls":5},"Sending more water today from upstream"]
["Matt","2025-03-10T14:13:00","ONSITE both Headpond & Powerhouse",null,49,"NO",null,"4c",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","3 Logs Out","3 Logs Out","5 Logs Out","Both OFF = NO LOGS OUT","3 Logs Out","3 Logs Out","3 Logs Out","5.5 Logs Out","MNR to pull above on tuesday."]
["Colin","2025-03-10T09:36:00","RULER only 557 bridge",60,null,"YES","557 ruler",-4,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","5 Logs Out"]
["Colin","2025-03-09T08:55:00","RULER only 557 bridge",59,null,"NO",null,-4,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","5 Logs Out",{"$nulls":5},"Up from friday and water on its way"]
["Colin","2025-03-08T07:44:00","RULER only 557 bridge",59,null,"NO",null,-13,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","5 Logs Out",{"$nulls":5},"Water on its way"]
["Colin","2025-03-07T15:38:00","ONSITE both Headpond & Powerhouse",null,45,"NO",null,1,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","3 Logs Out","3 Logs Out","5.5 Logs Out","Both OFF = NO LOGS OUT","3 Logs Out","3 Logs Out","3 Logs Out","5 Logs Out","Closed up mechanical gate water will rise soon"]
["Colin","2025-03-07T15:17:00","RULER only 557 bridge",58,null,"NO",null,1,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","5.5 Logs Out",{"$nulls":5},"Water on its way"]
["Greg","2025-03-07T12:29:00","ONSITE both Headpond & Powerhouse",null,44,"NO",null,"3 light snow",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","3 Logs Out","3 Logs Out","6 Logs Out","Both OFF = NO LOGS OUT","3 Logs Out","3 Logs Out","3 Logs Out","5.5 Logs Out","Water is on its way from upstream ",44]
["Zoran","2025-03-07T09:37:00","RULER only 557 bridge",58.5,null,"NO",null,-2,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","6 Logs Out",{"$nulls":5},"Under compliance. Was drawn down as extra water was expected from the rainfall last few days."]
["Zoran","2025-03-06T14:06:00","ONSITE both Headpond & Powerhouse",null,0.49,"NO",null,-2,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","3 Logs Out","3 Logs Out","5.5 Logs Out","Both OFF = NO LOGS OUT","3 Logs Out","3 Logs Out","3 Logs Out","6 Logs Out","Under compliance.",49]
["Zoran","2025-03-06T13:28:00","RULER only 557 bridge",0.59499999999999997,null,"NO",null,-3,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","5.5 Logs Out",{"$nulls":5},"Was drawn down because extra water was coming from upstream from the rain."]
["Dana","2025-03-06T06:55:00","RULER only 557 bridge",0.57999999999999996,null,"NO",null,"-13c",null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","5.5 Logs Out",{"$nulls":5},"Drew down for rain"]
["Zoran","2025-03-05T15:36:00","ONSITE both Headpond & Powerhouse",null,0.47,"NO",null,4,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","3 Logs Out","3 Logs Out","5.5 Logs Out",{"$nulls":5},"Was drawn down as extra water is expected from upstream due to heavy rain."]
["Greg","2025-03-05T13:57:00","RULER only 557 bridge",59,null,"NO",null,"3 rain",null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","5.5 Logs Out",{"$nulls":5},"Water is on its way"]
["Dana","2025-03-05T06:58:00","RULER only 557 bridge",".585 (.58-.59 waves)",null,"NO",null,"1C, rain warning 25-35mm (20 by lunch) possible",null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","5.5 Logs Out",{"$nulls":5},"Drew down for rain storm today"]
["Danny","2025-03-04T14:12:00","ONSITE both Headpond & Powerhouse",null,51,"YES","557 ruler",3,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","3 Logs Out","3 Logs Out","5.5 Logs Out",{"$nulls":6},51]
["Colin","2025-03-04T09:37:00","RULER only 557 bridge",60,null,"YES","557 ruler",3,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","3.5 Logs Out"]
["Colin","2025-03-03T16:05:00","RULER only 557 bridge",61,null,"YES","557 ruler",4,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","3.5 Logs Out"]
["Zoran","2025-03-03T14:10:00","ONSITE both Headpond & Powerhouse",null,0.54,"YES","557 ruler",3,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","3 Logs Out","3 Logs Out","3 Logs Out","Both OFF = NO LOGS OUT","3 Logs Out","3 Logs Out","3 Logs Out","3.5 Logs Out"]
["Colin","2025-03-03T09:35:00","RULER only 557 bridge",61,null,"YES","557 ruler",-2,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","3 Logs Out"]
["Dana","2025-03-02T12:51:00","RULER only 557 bridge",0.6,null,"YES","557 ruler",-10,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","3 Logs Out"]
["Dana","2025-03-01T13:38:00","RULER only 557 bridge",".585-.59",null,"NO",null,-14,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","3 Logs Out",{"$nulls":5},"Incoming water upstream "]
["Dana","2025-01-26T09:52:00","RULER only 557 bridge",".60 (little wave .60-.61)",null,"YES","557 ruler","-11C, sunny.",null,"Jan. 1 to Jan. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out"]