{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["2025_Town_Dam_Month-to-Date_Wat"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2025_Town_Dam_Month-to-Date_Wat","index":0,"n_rows":85,"n_cols":22,"rows_kept":85,"cut":false,"hidden":false,"merged":[]}
["Form Completed By:","Date and Time of Check-In","Type of Check-In","Hwy 557 Ruler","Dam Ruler (N/A when Logs Out)","Is Water Level In Compliance","Which Ruler is in Compliance?","Weather (temperature in celsius)","WATER TEMPERATURE if required","Water Management Plan Period","Bay 1: TURBINES","Bay 2: 6 Logs Maximum","Bay 3: 8 Logs Maximum","Bay 4: 10 Logs Maximum","Bay 5: MECH GATE MAX 9 Logs","Bay 1 After change: TURBINES","Bay 2 After change: 6 Logs Maximum","Bay 3 after change: 8 Logs Maximum","Bay 4 after change: 10 Logs Maximum","Bay 5 after change: MECH GATE MAX 9 Logs","OOC Comment","Dam Ruler After Log Changes"]
["Colin","2025-04-30T12:04:00","ONSITE both Headpond & Powerhouse",null,"Below zero","YES","557 ruler",4,8,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Colin","2025-04-30T11:44:00","RULER only 557 bridge",73,null,"YES","557 ruler",5,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Dana","2025-04-30T05:50:00","RULER only 557 bridge",".74 (.73-.75)",null,"YES","557 ruler","-2C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Colin","2025-04-29T15:00:00","ONSITE both Headpond & Powerhouse",null,"Below zero","NO",null,11,9,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Spring thaw"]
["Colin","2025-04-29T14:37:00","RULER only 557 bridge","Bouncing 73-75",null,"NO",null,12,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Spring thaw"]
["Colin","2025-04-29T10:29:00","RULER only 557 bridge",75,null,"NO",null,9,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Spring thaw"]
["Dana","2025-04-29T05:25:00","RULER only 557 bridge",".75 (.745-.76)",null,"YES","557 ruler",8,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Dana","2025-04-28T15:06:00","RULER only 557 bridge",".76 (bouncing 0.75-0.77)",null,"YES","557 ruler","15C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Colin","2025-04-28T09:29:00","ONSITE both Headpond & Powerhouse",null,"Below zero","NO",null,12,8,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Spring thaw"]
["Dana","2025-04-28T06:22:00","RULER only 557 bridge",".775 (.77-.78)",null,"NO",null,"5C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Over compliance due to freshet. Working with MNR to manage high water "]
["Dana","2025-04-27T09:23:00","RULER only 557 bridge",".79 (.785-.795)",null,"NO",null,"7C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Freshet, over compliance and working with MNR down watershed. Down 2 from yesterday.  "]
["Dana","2025-04-26T08:35:00","RULER only 557 bridge",".81 (dips to .80 and peaks at .815 w/current)",null,"NO",null,"5C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Over compliance during freshet. Working with MNR down watershed to manage high water"]
["Dana","2025-04-25T16:00:00","RULER only 557 bridge",".81 (.81-.815)",null,"NO",null,"6C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Over compliance due to freshet. Working with MNR down watershed. "]
["Colin","2025-04-25T14:09:00","RULER only 557 bridge",81,null,"NO",null,10,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Spring thaw"]
["Greg","2025-04-25T09:29:00","ONSITE both Headpond & Powerhouse",null,"N/A at the 179 mark","NO",null,"5 light rain",6,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Over compliance during freshet. MNR aware."]
["Dana","2025-04-25T06:10:00","RULER only 557 bridge",".81 (.81-.815)",null,"NO",null,"7C, rain expected today ~20mm by tomo morning",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Over compliance during fresher. Working with MNR to manage watershed."]
["Dana","2025-04-24T19:32:00","RULER only 557 bridge",".81-.815 (held all day, more entries to follow once device charged)",null,"NO",null,13,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Over compliance due to freshet. Working with MNR to manage high water"]
["Colin","2025-04-24T16:04:00","RULER only 557 bridge",81,null,"NO",null,16,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Spring thaw"]
["Jason","2025-04-24T14:11:00","ONSITE both Headpond & Powerhouse",null,"N/A","NO",null,12,6,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Spring thaw lots of rain MNR aware of levels "]
["Greg","2025-04-23T15:32:00","ONSITE both Headpond & Powerhouse",null,"N/A ","NO",null,"14 sunny",5,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"From freshet- MNR is aware."]
["Dana","2025-04-23T15:23:00","RULER only 557 bridge",".795 (.79-.7975) Windy & fast current. Ice break up moving down river",null,"NO",null,"12C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Freshet high water. MNR aware and working with them to continue passing water from above."]
["Colin","2025-04-23T14:10:00","RULER only 557 bridge",79,null,"NO",null,15,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Spring thaw"]
["Dana","2025-04-23T07:10:00","RULER only Dam",null,"Under ruler","NO",null,"2C","NA will get later today","Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"Freshet. High water and all logs out at dam. MNR aware"]
["Dana","2025-04-23T06:09:00","RULER only 557 bridge",".78-.79 (w/current)",null,"NO",null,"-1C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"High water from freshet. MNR Aware"]
["Colin","2025-04-22T16:05:00","RULER only 557 bridge",77,null,"NO",null,13,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",{"$nulls":5},"High water do to spring thaw"]
["Greg","2025-04-22T10:24:00","ONSITE both Headpond & Powerhouse",null,"Bouncing .2 & .4","YES","557 ruler","3 overcast",4,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","7 Logs Out","9 Logs Out","9 Logs Out (MAX)","Both OFF = NO LOGS OUT","6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)",null,"N/A under ruler."]
["Dana","2025-04-22T06:29:00","RULER only 557 bridge",0.75,null,"YES","557 ruler","1C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","7 Logs Out","9 Logs Out","9 Logs Out (MAX)"]
["Dana","2025-04-21T19:55:00","RULER only 557 bridge",".73 (.72-.735)",null,"YES","557 ruler","5, weather warning over.",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","7 Logs Out","9 Logs Out","9 Logs Out (MAX)"]
["Colin","2025-04-21T16:11:00","RULER only 557 bridge",73,null,"YES","557 ruler",4,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","7 Logs Out","9 Logs Out","9 Logs Out (MAX)"]
["Colin","2025-04-21T12:28:00","ONSITE both Headpond & Powerhouse",null,"Below zero","YES","557 ruler",4,4,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","7 Logs Out","9 Logs Out","9 Logs Out (MAX)"]
["Colin","2025-04-21T12:05:00","RULER only 557 bridge",72,null,"YES","557 ruler",4,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","7 Logs Out","9 Logs Out","9 Logs Out (MAX)"]
["Dana","2025-04-21T07:18:00","RULER only 557 bridge",".695 (.69-.70 w/wind)",null,"YES","557 ruler","2C, weather statement 15-25mm by evening",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","7 Logs Out","9 Logs Out","9 Logs Out (MAX)"]
["Zoran","2025-04-20T08:24:00","RULER only 557 bridge",0.68,null,"YES","557 ruler",4,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","7 Logs Out","9 Logs Out","9 Logs Out (MAX)"]
["Zoran","2025-04-19T07:15:00","RULER only 557 bridge",0.66500000000000004,null,"YES","557 ruler",6,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","7 Logs Out","9 Logs Out","9 Logs Out (MAX)"]
["Dana","2025-04-18T12:58:00","RULER only 557 bridge",0.65749999999999997,null,"YES","557 ruler","8C received rain early this morning and another 10mm forecasted tonight. ",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","7 Logs Out","9 Logs Out","9 Logs Out (MAX)"]
["Dana","2025-04-18T06:10:00","RULER only 557 bridge",".655 (.655-.66 w/wind/current)",null,"YES","557 ruler","3C, raining (up to 20mm forecasted today)",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","7 Logs Out","9 Logs Out","9 Logs Out (MAX)"]
["Colin","2025-04-17T15:52:00","RULER only 557 bridge",66.5,null,"YES","557 ruler",10,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","7 Logs Out","9 Logs Out","9 Logs Out (MAX)"]
["Matt","2025-04-17T09:27:00","ONSITE only Headpond",null,0.7,"NO",null,"6c","3c","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","7 Logs Out","7 Logs Out","9 Logs Out (MAX)","Both OFF = NO LOGS OUT","5 Logs Out","7 Logs Out","9 Logs Out","9 Logs Out (MAX)","Water coming.","Photo."]
["Dana","2025-04-17T06:37:00","RULER only 557 bridge","Hair under .67, dipping under with current.",null,"YES","557 ruler","-6C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","7 Logs Out","7 Logs Out","9 Logs Out (MAX)"]
["Dana","2025-04-16T18:58:00","ONSITE only Headpond",null,0.17,"YES","557 ruler","5C","NA - checked earlier ","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","7 Logs Out","7 Logs Out","7 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","7 Logs Out","7 Logs Out","9 Logs Out (MAX)",null,0.1]
["Dana","2025-04-16T17:29:00","RULER only 557 bridge",".675 (with current shows .67 to just under .68)",null,"YES","557 ruler","9C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","7 Logs Out","7 Logs Out","7 Logs Out"]
["Danny","2025-04-16T13:56:00","RULER only 557 bridge",67,null,"YES","557 ruler",9,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","7 Logs Out","7 Logs Out","7 Logs Out"]
["Matt","2025-04-16T12:36:00","ONSITE only Headpond",null,23,"NO",null,"10c",null,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","7 Logs Out","7 Logs Out","6 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","7 Logs Out","7 Logs Out","7 Logs Out","Water going to come up over next couple of days. (Flood/high water warning until 22nd).",16]
["Colin","2025-04-16T12:32:00","RULER only 557 bridge",67,null,"YES","557 ruler",7,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","7 Logs Out","7 Logs Out","6 Logs Out"]
["Matt","2025-04-16T10:04:00","ONSITE only Headpond",null,29,"NO",null,"4c","3c","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","6 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","7 Logs Out","7 Logs Out","6 Logs Out","Flood warnings for our area until the 22nd. Water may rise.",23]
["Dana","2025-04-16T07:10:00","RULER only 557 bridge",".675 (.67-.68)",null,"YES","557 ruler",-1,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","6 Logs Out"]
["Dana","2025-04-15T16:19:00","ONSITE both Headpond & Powerhouse",null,0.35,"YES","557 ruler","3C","Na","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","5 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","6 Logs Out",null,".33 (.31-.34 windy)"]
["Dana","2025-04-15T15:56:00","RULER only 557 bridge",".57, holding ",null,"YES","557 ruler","2C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","5 Logs Out"]
["Colin","2025-04-15T11:33:00","RULER only 557 bridge",67,null,"YES","557 ruler",4,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","5 Logs Out"]
["Dana","2025-04-15T10:20:00","RULER only Dam",null,0.35,"YES","557 ruler","0C","Na","Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","5 Logs Out"]
["Greg","2025-04-15T09:32:00","ONSITE both Headpond & Powerhouse",null,".44 /updated DS","YES","557 ruler","2 overcast with light snow/rain mix",2,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","2 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","5 Logs Out",null,".35 (ds/added after reading)"]
["Dana","2025-04-15T06:45:00","RULER only 557 bridge",0.67,null,"YES","557 ruler","0C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","2 Logs Out"]
["Matt","2025-04-14T09:43:00","ONSITE both Headpond & Powerhouse",null,40,"YES","557 ruler","5c","3.5c","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","NO LOGS OUT - GATE CLOSED","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","2 Logs Out",null,"Same."]
["Dana","2025-04-14T06:56:00","RULER only 557 bridge",".63 (.625-.63)",null,"YES","557 ruler","3C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Colin","2025-04-13T07:14:00","RULER only 557 bridge",61,null,"YES","557 ruler",3,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Colin","2025-04-12T08:19:00","RULER only 557 bridge",59,null,"NO",null,-2,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","NO LOGS OUT - GATE CLOSED",{"$nulls":5},"Rain coming sunday and monday"]
["Colin","2025-04-11T14:40:00","ONSITE both Headpond & Powerhouse",null,35,"NO",null,11,4,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","2.5 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","GATE CLOSED = NO LOGS OUT","Closed mechanical gate water should be in compliance soon"]
["Colin","2025-04-11T09:29:00","RULER only 557 bridge",59,null,"NO",null,4,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","2.5 Logs Out",{"$nulls":5},"Water on its way and will close mechanical gate a bit today "]
["Greg","2025-04-10T15:56:00","ONSITE both Headpond & Powerhouse",null,32,"YES","557 ruler","5 sunny ",2,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","3.5 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","2.5 Logs Out"]
["Colin","2025-04-10T15:02:00","RULER only 557 bridge",60,null,"YES","557 ruler",7,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","3.5 Logs Out"]
["Dana","2025-04-10T06:46:00","RULER only 557 bridge",0.61,null,"YES","557 ruler",-7,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","3.5 Logs Out"]
["Colin","2025-04-09T13:38:00","ONSITE both Headpond & Powerhouse",null,31,"YES","557 ruler",1,2,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","4 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","3.5 Logs Out"]
["Colin","2025-04-09T09:49:00","RULER only 557 bridge",61,null,"YES","557 ruler",-3,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","4 Logs Out"]
["Matt","2025-04-08T15:26:00","RULER only 557 bridge",62,null,"YES","557 ruler","1C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","4 Logs Out"]
["Colin","2025-04-08T13:00:00","ONSITE both Headpond & Powerhouse",null,32,"YES","557 ruler",1,1,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","4 Logs Out"]
["Dana","2025-04-08T07:29:00","RULER only 557 bridge",".625 (.62-.63)",null,"YES","557 ruler","-13C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","4 Logs Out"]
["Dana","2025-04-07T16:54:00","ONSITE both Headpond & Powerhouse",null,".375-.38","YES","557 ruler",-3,1,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","3 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","4 Logs Out",null,".3675-.37"]
["Matt","2025-04-07T15:59:00","RULER only 557 bridge",64.5,null,"YES","557 ruler","-2c",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","3 Logs Out"]
["Colin","2025-04-07T09:49:00","ONSITE both Headpond & Powerhouse",null,41,"YES","557 ruler",-4,1,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","2 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","3 Logs Out"]
["Zoran","2025-04-06T12:19:00","RULER only 557 bridge","61 (wavy, going between 61 and 62)",null,"YES","557 ruler",4,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","2 Logs Out"]
["Zoran","2025-04-05T11:47:00","RULER only 557 bridge",0.61,null,"YES","557 ruler",2,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","2 Logs Out"]
["Matt","2025-04-04T14:54:00","ONSITE only Headpond",null,33,"NO",null,"6c","2.5C","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","3 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","2 Logs Out","Anticipating water."]
["Matt","2025-04-04T14:13:00","ONSITE only Headpond",null,33,"NO",null,"6c","2.5C","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","3 Logs Out",{"$nulls":5},"Melted ice/snow,rain from above coming."]
["Matt","2025-04-04T09:17:00","RULER only 557 bridge",59,null,"NO",null,"6c",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","3 Logs Out",{"$nulls":5},"Water from warmer temps is coming."]
["Colin","2025-04-03T15:48:00","RULER only 557 bridge",60.5,null,"YES","557 ruler",5,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","3 Logs Out"]
["Matt","2025-04-03T13:31:00","ONSITE only Headpond",null,35,"YES","557 ruler","5C","3.75c","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","2.5 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","3 Logs Out"]
["Dana","2025-04-03T10:27:00","ONSITE only Headpond",null,0.35,"YES","557 ruler","2C","N/A","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","2.5 Logs Out"]
["Matt","2025-04-03T09:48:00","RULER only 557 bridge",60.5,null,"YES","557 ruler","5C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","2.5 Logs Out"]
["Matt","2025-04-02T12:55:00","ONSITE only Headpond",null,37,"YES","557 ruler","-1c","1.5c","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out","1 Log Out ","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","2.5 Logs Out",null,35]
["Colin","2025-04-02T12:26:00","RULER only 557 bridge",62,null,"YES","557 ruler",-1,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out","1 Log Out "]
["Greg","2025-04-02T10:40:00","ONSITE both Headpond & Powerhouse",null,37,"YES","557 ruler","0 windy overcast ",2,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out",".5 Logs Out","Both OFF = NO LOGS OUT","5 Logs Out","6 Logs Out","6 Logs Out","1 Log Out "]
["Colin","2025-04-02T09:58:00","RULER only 557 bridge",62,null,"YES","557 ruler",-1,null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out",".5 Logs Out"]
["Matt","2025-04-01T11:33:00","ONSITE only Headpond",null,37,"YES","557 ruler","-2c","3c.","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","5 Logs Out","6 Logs Out","6 Logs Out",".5 Logs Out"]
["Matt","2025-04-01T09:36:00","RULER only 557 bridge",60.5,null,"YES","557 ruler","3c",null,"Apr. 1 to May 31 *Take Water Temp*",null,"5 Logs Out","6 Logs Out","6 Logs Out",".5 Logs Out"]