{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["2025_Town_Dam_Month-to-Date_Wat"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2025_Town_Dam_Month-to-Date_Wat","index":0,"n_rows":59,"n_cols":22,"rows_kept":59,"cut":false,"hidden":false,"merged":[]}
["Form Completed By:","Date and Time of Check-In","Type of Check-In","Hwy 557 Ruler","Dam Ruler (N/A when Logs Out)","Is Water Level In Compliance","Which Ruler is in Compliance?","Weather (temperature in celsius)","WATER TEMPERATURE if required","Water Management Plan Period","Bay 1: TURBINES","Bay 2: 6 Logs Maximum","Bay 3: 8 Logs Maximum","Bay 4: 10 Logs Maximum","Bay 5: MECH GATE MAX 9 Logs","Bay 1 After change: TURBINES","Bay 2 After change: 6 Logs Maximum","Bay 3 after change: 8 Logs Maximum","Bay 4 after change: 10 Logs Maximum","Bay 5 after change: MECH GATE MAX 9 Logs","OOC Comment","Dam Ruler After Log Changes"]
["Greg","2025-06-30T14:09:00","ONSITE both Headpond & Powerhouse",null,61,"YES","Dam ruler","25 sunny and humid",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","1.5 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","1 Log Out ","1 Log Out ",null,61.5]
["Colin","2025-06-30T09:24:00","RULER only 557 bridge",61,null,"YES","557 ruler",20,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","1 Log Out ","1.5 Logs Out"]
["Dana","2025-06-30T06:35:00","RULER only Dam",null,0.6,"YES","Dam ruler",17,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","1 Log Out ","1.5 Logs Out"]
["Dana","2025-06-29T10:49:00","ONSITE both Headpond & Powerhouse",null,0.52,"NO",null,19,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","4.5 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","1 Log Out ","1.5 Logs Out","Coming into compliance today after adjustment. Held from yesterday after that adjustment. ",0.54]
["Dana","2025-06-29T10:17:00","RULER only 557 bridge",".565 (.56-.57) ",null,"NO",null,19,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","1 Log Out ","4.5 Logs Out",{"$nulls":5},"Rain passed, forecasted rain tomorrow now lower than originally forecasted. "]
["Dana","2025-06-28T09:39:00","ONSITE both Headpond & Powerhouse",null,0.41,"NO",null,"15c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","8 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","1 Log Out ","4.5 Logs Out","Opened gate for heavy rain yesterday. Closing slowly as upstream rain water continues to pass to level back out. 557 should be back in compliance today. Will adjust gate again tomorrow if needed. Upstream levels still rising (not peaked yet).",0.46]
["Dana","2025-06-28T09:09:00","RULER only 557 bridge",".58-.59",null,"NO",null,14,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","1 Log Out ","8 Logs Out",{"$nulls":5},"Opened gate for rain (35mm-50mm), will close now that it has passed. "]
["Colin","2025-06-27T13:26:00","RULER only 557 bridge",67.5,null,"NO",null,16,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","1 Log Out ","8 Logs Out",{"$nulls":5},"Lots of rain water dropping slowly"]
["Matt","2025-06-27T12:03:00","ONSITE only Headpond",null,59,"NO",null,"13c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","6 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","1 Log Out ","8 Logs Out","Rain. Will adjust.",56]
["Zoran","2025-06-27T11:25:00","RULER only 557 bridge",0.67500000000000004,null,"NO",null,16,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","1 Log Out ","6 Logs Out",{"$nulls":5},"Over compliance due to heavy rainfall this morning."]
["Jason","2025-06-27T10:15:00","ONSITE both Headpond & Powerhouse",null,62.5,"YES","557 ruler","16 raining ",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","6 Logs Out"]
["Matt","2025-06-27T09:33:00","RULER only 557 bridge",66,null,"YES","557 ruler","13c",null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","1 Log Out ","4 Logs Out"]
["Dana","2025-06-27T07:23:00","RULER only 557 bridge",0.65,null,"YES","557 ruler","14, Weather statement 30-50mm rain",null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","1 Log Out ","4 Logs Out"]
["Matt","2025-06-26T12:28:00","ONSITE only Headpond",null,66.5,"NO",null,"15c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","1 Log Out ","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","1 Log Out ","4 Logs Out","Mnr to pull at above dam. Opened mech. gate and pulled 1 log from bay 4. Went into compliance after adjustments,(65).",65]
["Colin","2025-06-26T09:31:00","RULER only 557 bridge",67,null,"NO",null,16,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","1 Log Out ",{"$nulls":5},"Immediate action required  "]
["Colin","2025-06-25T12:01:00","ONSITE both Headpond & Powerhouse",null,65,"YES","Dam and 557 rulers",25,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT",".5 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","NO LOGS OUT","1 Log Out ",null,65]
["Colin","2025-06-25T09:41:00","RULER only 557 bridge",65,null,"YES","557 ruler",23,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT",".5 Logs Out"]
["Dana","2025-06-24T12:38:00","RULER only 557 bridge",0.64,null,"YES","557 ruler","26, Heat Warning",null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT",".5 Logs Out"]
["Matt","2025-06-23T15:51:00","ONSITE only Headpond",null,61,"YES","Dam and 557 rulers","30c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","1 Log Out ","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","NO LOGS OUT",".5 Logs Out"]
["Matt","2025-06-23T15:28:00","ONSITE only Headpond",null,"615-.6175 (ds edit)","YES","Dam and 557 rulers","30c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","1.5 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","NO LOGS OUT","1 Log Out ",null,".62 (as reported from site by Zoran/edit DS)"]
["Matt","2025-06-23T13:03:00","RULER only 557 bridge","Bouncing from 61-63. Call it 62.",null,null,null,"31c",null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","1.5 Logs Out"]
["Zoran","2025-06-22T10:54:00","RULER only 557 bridge",0.62,null,"YES","557 ruler",18,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","1.5 Logs Out"]
["Zoran","2025-06-21T08:02:00","RULER only 557 bridge",0.61,null,"YES","557 ruler",16,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","1.5 Logs Out"]
["Jason","2025-06-20T11:58:00","ONSITE both Headpond & Powerhouse",null,59,"NO",null,19,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","1.5 Logs Out",{"$nulls":5},"Closed gate to one and a half and waiting for rain tonight "]
["Zoran","2025-06-19T12:43:00","ONSITE both Headpond & Powerhouse",null,0.61,"YES","Dam and 557 rulers",20,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Zoran","2025-06-19T09:17:00","RULER only 557 bridge",0.61,null,"YES","557 ruler",16,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Dana","2025-06-19T07:15:00","RULER only Dam",null,".61 (just shy)","YES","Dam ruler","16C, 15mm rain @ 90% this AM",null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Zoran","2025-06-18T09:33:00","RULER only 557 bridge",0.61,null,"YES","557 ruler",18,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Colin","2025-06-17T11:52:00","ONSITE both Headpond & Powerhouse",null,61,"YES","Dam and 557 rulers",19,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Colin","2025-06-17T09:14:00","RULER only 557 bridge",62.5,null,"YES","557 ruler",20,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Zoran","2025-06-16T12:43:00","ONSITE both Headpond & Powerhouse",null,0.62,"YES","Dam and 557 rulers",20,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Zoran","2025-06-16T09:35:00","RULER only 557 bridge",0.625,null,"YES","557 ruler",19,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Colin","2025-06-15T07:47:00","RULER only 557 bridge",63,null,"YES","557 ruler",15,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Greg","2025-06-13T12:26:00","ONSITE both Headpond & Powerhouse",null,63,"YES","Dam and 557 rulers","14 overcast",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Colin","2025-06-13T09:23:00","RULER only 557 bridge",64,null,"YES","557 ruler",14,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Greg","2025-06-12T13:55:00","ONSITE both Headpond & Powerhouse",null,"64 on ruler","YES","Dam and 557 rulers","20 sunny",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Greg","2025-06-12T09:26:00","RULER only 557 bridge",65,null,"YES","557 ruler","18 sunny",null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Zoran","2025-06-11T11:09:00","ONSITE both Headpond & Powerhouse",null,0.64500000000000002,"YES","Dam and 557 rulers",19,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","2.5 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","NO LOGS OUT","2 Logs Out",null,0.64500000000000002]
["Dana","2025-06-11T09:25:00","RULER only 557 bridge",0.64749999999999996,null,"YES","557 ruler",13,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2.5 Logs Out"]
["Colin","2025-06-10T12:22:00","ONSITE both Headpond & Powerhouse",null,65,"YES","557 ruler",14,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","2.5 Logs Out"]
["Colin","2025-06-10T09:51:00","RULER only 557 bridge",66,null,"YES","557 ruler",14,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2.5 Logs Out"]
["Greg","2025-06-09T14:19:00","ONSITE both Headpond & Powerhouse",null,65,"YES","Dam ruler","19 sunny",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","NO LOGS OUT","2.5 Logs Out"]
["Colin","2025-06-09T09:29:00","RULER only 557 bridge",66.5,null,"NO",null,14,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out",{"$nulls":5},"Dropping slowly"]
["Dana","2025-06-08T10:03:00","RULER only 557 bridge","0.66 mStaff, rain forecasted and will adjust gate if needed.",null,"YES","557 ruler",17,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Dana","2025-06-07T07:53:00","RULER only 557 bridge",0.65,null,"YES","557 ruler",12,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Matt","2025-06-06T12:26:00","ONSITE only Headpond",null,64,"YES","Dam and 557 rulers","19c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Colin","2025-06-06T09:31:00","RULER only 557 bridge",64,null,"YES","557 ruler",17,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Matt","2025-06-05T13:38:00","ONSITE only Headpond",null,61,"YES","Dam and 557 rulers","23c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","3 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","NO LOGS OUT","2 Logs Out"]
["Colin","2025-06-05T09:38:00","RULER only 557 bridge",63,null,"YES","557 ruler",18,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","3 Logs Out"]
["Matt","2025-06-04T12:23:00","ONSITE only Headpond",null,62,"YES","Dam and 557 rulers","15c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","3 Logs Out"]
["Colin","2025-06-04T09:40:00","RULER only 557 bridge",63,null,"YES","557 ruler",16,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","3 Logs Out"]
["Matt","2025-06-03T14:48:00","ONSITE only Headpond",null,61,"YES","Dam and 557 rulers","24c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","3 Logs Out"]
["Colin","2025-06-03T09:29:00","RULER only 557 bridge",63,null,"YES","557 ruler",16,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","3 Logs Out"]
["Matt","2025-06-02T13:15:00","ONSITE only Headpond",null,62,"YES","Dam and 557 rulers","21c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","3 Logs Out"]
["Colin","2025-06-02T09:21:00","RULER only 557 bridge",63,null,"YES","557 ruler",14,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","3 Logs Out"]
["Zoran","2025-06-01T11:30:00","ONSITE only Headpond",null,0.63,"YES","Dam and 557 rulers",16,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","4 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","NO LOGS OUT","3 Logs Out",null,0.63]
["Zoran","2025-06-01T10:17:00","RULER only 557 bridge",0.64,null,"YES","557 ruler",16,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","NO LOGS OUT","4 Logs Out"]
["Dana","2025-05-20T09:58:00","ONSITE only Headpond",null,0.625,"YES","Dam and 557 rulers","7C","NA ","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","1 Log Out","3 Logs Out","5 Logs Out","NO LOGS OUT - GATE CLOSED"]