{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["2025_Town_Dam_Month-to-Date_Wat"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2025_Town_Dam_Month-to-Date_Wat","index":0,"n_rows":53,"n_cols":22,"rows_kept":53,"cut":false,"hidden":false,"merged":[]}
["Form Completed By:","Date and Time of Check-In","Type of Check-In","Hwy 557 Ruler","Dam Ruler (N/A when Logs Out)","Is Water Level In Compliance","Which Ruler is in Compliance?","Weather (temperature in celsius)","WATER TEMPERATURE if required","Water Management Plan Period","Bay 1: TURBINES","Bay 2: 6 Logs Maximum","Bay 3: 8 Logs Maximum","Bay 4: 10 Logs Maximum","Bay 5: MECH GATE MAX 9 Logs","Bay 1 After change: TURBINES","Bay 2 After change: 6 Logs Maximum","Bay 3 after change: 8 Logs Maximum","Bay 4 after change: 10 Logs Maximum","Bay 5 after change: MECH GATE MAX 9 Logs","OOC Comment","Dam Ruler After Log Changes"]
["Dana","2025-08-31T09:43:00","RULER only 557 bridge",0.63,null,"YES","557 is, Town Dam not checked yet","15C, sunny",null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Dana","2025-08-30T08:39:00","RULER only 557 bridge",0.625,null,"YES","557 is, Town Dam not checked yet","7C, sunny",null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Colin","2025-08-29T11:22:00","ONSITE both Headpond & Powerhouse",null,63,"YES","Dam and 557 rulers",18,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Colin","2025-08-29T09:22:00","RULER only 557 bridge",62.5,null,"YES","557 is, Town Dam not checked yet",14,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Colin","2025-08-28T11:17:00","ONSITE both Headpond & Powerhouse",null,63.5,"YES","Dam and 557 rulers",16,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ",".5 Logs Out","Both OFF = NO LOGS OUT","NO LOGS OUT","1 Log Out","1 Log Out ","1 Log Out ",null,63.5]
["Colin","2025-08-28T09:16:00","RULER only 557 bridge","Bouncing 62-64",null,"YES","557 is, Town Dam not checked yet",14,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ",".5 Logs Out"]
["Colin","2025-08-27T12:07:00","ONSITE both Headpond & Powerhouse",null,60.5,"YES","Dam and 557 rulers",19,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ",".5 Logs Out"]
["Colin","2025-08-27T09:16:00","RULER only 557 bridge",61,null,"YES","557 is, Town Dam not checked yet",14,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ",".5 Logs Out"]
["Zoran","2025-08-26T15:51:00","RULER only 557 bridge",0.61,null,"YES","557 ruler",21,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ",".5 Logs Out"]
["Zoran","2025-08-25T15:57:00","ONSITE both Headpond & Powerhouse",null,0.61499999999999999,"YES","Dam and 557 rulers",18,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out ","Both OFF = NO LOGS OUT","NO LOGS OUT","1 Log Out","1 Log Out ",".5 Logs Out",null,0.61499999999999999]
["Zoran","2025-08-25T12:57:00","RULER only 557 bridge",60.5,null,"YES","557 ruler",18,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","NO LOGS OUT - GATE CLOSED"]
["Colin","2025-08-24T07:57:00","RULER only 557 bridge",61,null,"YES","557 is, Town Dam not checked yet",11,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Colin","2025-08-22T10:19:00","ONSITE both Headpond & Powerhouse",null,60,"YES","Dam and 557 rulers",22,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Colin","2025-08-22T09:23:00","RULER only 557 bridge",60.5,null,"YES","557 is, Town Dam not checked yet",22,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Colin","2025-08-21T15:56:00","ONSITE both Headpond & Powerhouse",null,59.5,"YES","557 ruler",23,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Colin","2025-08-21T13:05:00","RULER only 557 bridge",61,null,"YES","557 is, Town Dam not checked yet",23,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Colin","2025-08-20T13:09:00","RULER only 557 bridge",61,null,"YES","Dam and 557 rulers",24,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Colin","2025-08-20T12:51:00","ONSITE both Headpond & Powerhouse",null,60,"YES","Dam ruler",24,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Colin","2025-08-19T13:20:00","ONSITE both Headpond & Powerhouse",null,59,"YES","557 ruler",20,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","2 Logs Out","1 Log Out ","NO LOGS OUT - GATE CLOSED","Both OFF = NO LOGS OUT","NO LOGS OUT","1 Log Out","1 Log Out ","1 Log Out ",null,59]
["Colin","2025-08-19T09:26:00","RULER only 557 bridge",61,null,"YES","557 is, Town Dam not checked yet",17,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","2 Logs Out","1 Log Out ","NO LOGS OUT - GATE CLOSED"]
["Dana","2025-08-19T06:46:00","RULER only Dam",null,0.59499999999999997,"YES","557 ruler","14, rain",null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","2 Logs Out","1 Log Out ","NO LOGS OUT - GATE CLOSED"]
["Colin","2025-08-18T14:59:00","ONSITE both Headpond & Powerhouse",null,59,"YES","557 ruler",19,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","2 Logs Out","2 Logs Out","NO LOGS OUT - GATE CLOSED","Both OFF = NO LOGS OUT","NO LOGS OUT","2 Logs Out","1 Log Out ","GATE CLOSED = NO LOGS OUT",null,59]
["Colin","2025-08-18T09:24:00","RULER only 557 bridge",60.5,null,"YES","557 is, Town Dam not checked yet",17,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","2 Logs Out","2 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Zoran","2025-08-17T17:29:00","RULER only 557 bridge",60.5,null,"YES","557 ruler",22,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","2 Logs Out","2 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Zoran","2025-08-16T13:59:00","RULER only 557 bridge",0.60499999999999998,null,"YES","557 ruler",26,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","2 Logs Out","2 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Dana","2025-08-15T17:49:00","RULER only 557 bridge",0.61,null,"YES","Dam and 557 rulers","26C",null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","2 Logs Out","2 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Dana","2025-08-15T17:31:00","ONSITE both Headpond & Powerhouse",null,0.6,"YES","Dam ruler",24,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","2 Logs Out","2 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Greg","2025-08-14T14:34:00","ONSITE both Headpond & Powerhouse",null,60.5,"YES","Dam and 557 rulers","23 sunny ",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","2 Logs Out","2 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Greg","2025-08-14T10:03:00","RULER only 557 bridge",62,null,"YES","557 is, Town Dam not checked yet","20 sunny",null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","2 Logs Out","2 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Greg","2025-08-13T11:53:00","ONSITE both Headpond & Powerhouse",null,61.5,"YES","Dam and 557 rulers","23 sunny",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","2 Logs Out","2 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Greg","2025-08-13T09:37:00","RULER only 557 bridge",0.63,null,"YES","557 is, Town Dam not checked yet","22 sunny",null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","2 Logs Out","2 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Greg","2025-08-12T13:53:00","ONSITE both Headpond & Powerhouse",null,59,"YES","557 ruler","23 overcast",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","2 Logs Out","2 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Greg","2025-08-12T10:09:00","RULER only 557 bridge",61,null,"YES","557 is, Town Dam not checked yet","24 overcast",null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","2 Logs Out","2 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Greg","2025-08-11T13:56:00","ONSITE both Headpond & Powerhouse",null,58,"NO",null,32,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","2 Logs Out","2 Logs Out","1.5 Logs Out","Both OFF = NO LOGS OUT","NO LOGS OUT","2 Logs Out","2 Logs Out","GATE CLOSED = NO LOGS OUT","Closed mechanical gate to adjust water levels.",58.5]
["Greg","2025-08-11T09:26:00","RULER only 557 bridge",59,null,"NO",null,26,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","2 Logs Out","2 Logs Out","1.5 Logs Out",{"$nulls":5},"Dry humid weather, and levels upstream, will close gate at town dam and possible log adjustments"]
["Dana","2025-08-10T09:32:00","RULER only 557 bridge","0.615, rain forecasted today, tomorrow and Tuesday ",null,"YES","557 is, Town Dam not checked yet","23, but heat warning for today",null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","2 Logs Out","2 Logs Out","1.5 Logs Out"]
["Dana","2025-08-09T07:57:00","RULER only 557 bridge",0.63,null,"YES","557 is, Town Dam not checked yet","21C, Heat Warning",null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","2 Logs Out","2 Logs Out","1.5 Logs Out"]
["Colin","2025-08-08T14:57:00","RULER only 557 bridge",63,null,"YES","557 is, Town Dam not checked yet",23,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","2 Logs Out","2 Logs Out","1.5 Logs Out"]
["Colin","2025-08-08T09:16:00","RULER only 557 bridge",63,null,"YES","557 is, Town Dam not checked yet",22,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","2 Logs Out","2 Logs Out","1.5 Logs Out"]
["Colin","2025-08-07T15:38:00","ONSITE both Headpond & Powerhouse",null,58,"YES","557 ruler",30,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out","Both OFF = NO LOGS OUT","NO LOGS OUT","2 Logs Out","2 Logs Out","1.5 Logs Out",null,59]
["Colin","2025-08-07T09:46:00","RULER only 557 bridge",63,null,"YES","557 is, Town Dam not checked yet",23,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out"]
["Colin","2025-08-06T11:53:00","ONSITE both Headpond & Powerhouse",null,58,"YES","557 ruler",25,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out",null,58]
["Colin","2025-08-06T09:49:00","RULER only 557 bridge",66,null,"YES","557 is, Town Dam not checked yet",23,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Colin","2025-08-05T14:40:00","ONSITE both Headpond & Powerhouse",null,66,"YES","Dam ruler",25,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","2 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",null,65]
["Colin","2025-08-05T09:29:00","RULER only 557 bridge",69,null,"No, but only 557 checked so far",null,20,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","2 Logs Out"]
["Colin","2025-08-04T13:40:00","ONSITE both Headpond & Powerhouse",null,66,"YES","Dam ruler",23,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","1.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","2 Logs Out",null,66]
["Colin","2025-08-04T09:21:00","RULER only 557 bridge",68.5,null,"No, but only 557 checked so far",null,21,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","1.5 Logs Out"]
["Zoran","2025-08-03T10:34:00","RULER only 557 bridge",0.67,null,"NO",null,18,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","1.5 Logs Out",{"$nulls":5},"Over compliance. Scarfe is dropping so we will adjust the gate tomorrow if needed."]
["Zoran","2025-08-02T10:01:00","ONSITE only Headpond",null,0.59,"YES","557 ruler",21,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","1.5 Logs Out",null,0.6]
["Zoran","2025-08-02T09:35:00","RULER only 557 bridge",0.63500000000000001,null,"YES","557 ruler",19,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out"]
["Matt","2025-08-01T12:12:00","ONSITE only Headpond",null,54,"YES","557 ruler","22c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out"]
["Matt","2025-08-01T09:19:00","RULER only 557 bridge",63,null,"YES","557 ruler","21c",null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]