{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["2025_Town_Dam_Month-to-Date_Wat"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2025_Town_Dam_Month-to-Date_Wat","index":0,"n_rows":79,"n_cols":22,"rows_kept":79,"cut":false,"hidden":false,"merged":[]}
["Form Completed By:","Date and Time of Check-In","Type of Check-In","Hwy 557 Ruler","Dam Ruler (N/A when Logs Out)","Is Water Level In Compliance","Which Ruler is in Compliance?","Weather (temperature in celsius)","WATER TEMPERATURE if required","Water Management Plan Period","Bay 1: TURBINES","Bay 2: 6 Logs Maximum","Bay 3: 8 Logs Maximum","Bay 4: 10 Logs Maximum","Bay 5: MECH GATE MAX 9 Logs","Bay 1 After change: TURBINES","Bay 2 After change: 6 Logs Maximum","Bay 3 after change: 8 Logs Maximum","Bay 4 after change: 10 Logs Maximum","Bay 5 after change: MECH GATE MAX 9 Logs","OOC Comment","Dam Ruler After Log Changes"]
["Matt","2025-07-31T12:20:00","ONSITE only Headpond",null,51,"YES","557 ruler","21c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Colin","2025-07-31T09:28:00","RULER only 557 bridge",63,null,"YES","557 is, Town Dam not checked yet",19,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","5.5 Logs Out"]
["Matt","2025-07-30T14:02:00","ONSITE only Headpond",null,51,"YES","557 ruler","22c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5.5 Logs Out"]
["Matt","2025-07-30T10:10:00","RULER only 557 bridge",65,null,"YES","557 is, Town Dam not checked yet","22c",null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","5.5 Logs Out"]
["Matt","2025-07-29T12:29:00","ONSITE only Headpond",null,52,"NO",null,"23c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5.5 Logs Out",{"$nulls":5},"Water coming."]
["Colin","2025-07-29T09:25:00","RULER only 557 bridge","Just under 66",null,"YES","557 is, Town Dam not checked yet",24,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","5.5 Logs Out"]
["Matt","2025-07-28T12:19:00","ONSITE only Headpond",null,56,"NO",null,"29c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","5.5 Logs Out","Water coming."]
["Colin","2025-07-28T09:22:00","RULER only 557 bridge",66,null,"YES","557 is, Town Dam not checked yet",27,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Dana","2025-07-27T05:39:00","RULER only 557 bridge",0.64,null,"YES","557 is, Town Dam not checked yet","18, Heat warning ",null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Dana","2025-07-26T08:19:00","RULER only 557 bridge",0.625,null,"YES","557 is, Town Dam not checked yet","16C",null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Colin","2025-07-25T15:07:00","ONSITE both Headpond & Powerhouse",null,55,"YES","557 ruler",29,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Colin","2025-07-25T13:42:00","RULER only 557 bridge",61.5,null,"YES","557 is, Town Dam not checked yet",29,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Colin","2025-07-25T09:19:00","RULER only 557 bridge",61.5,null,"YES","557 is, Town Dam not checked yet",21,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Colin","2025-07-24T09:30:00","RULER only 557 bridge",61,null,"YES","557 is, Town Dam not checked yet",23,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Zoran","2025-07-23T15:56:00","ONSITE both Headpond & Powerhouse",null,50.5,"YES","557 ruler",26,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",null,51.5]
["Zoran","2025-07-23T15:34:00","RULER only 557 bridge",0.91,null,"YES","557 ruler",26,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Dana","2025-07-23T09:21:00","RULER only 557 bridge",".615 (.61-.62, wavy)",null,"YES","557 is, Town Dam not checked yet","21C",null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Zoran","2025-07-22T14:38:00","ONSITE both Headpond & Powerhouse",null,0.53,"YES","557 ruler",26,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Zoran","2025-07-22T12:52:00","RULER only 557 bridge",0.63,null,"YES","557 ruler",25,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Dana","2025-07-22T07:13:00","RULER only 557 bridge",0.64,null,"YES","557 is, Town Dam not checked yet","9C",null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Greg","2025-07-21T12:48:00","ONSITE both Headpond & Powerhouse",null,57,"YES","557 ruler","22 sunny ",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out"]
["Greg","2025-07-21T09:15:00","RULER only 557 bridge",66,null,"YES","557 is, Town Dam not checked yet","16 sunny ",null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out"]
["Colin","2025-07-20T09:12:00","ONSITE only Headpond",null,61,"YES","Dam ruler",20,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","3.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out",null,60]
["Colin","2025-07-20T08:54:00","RULER only 557 bridge",67,null,"No, but only 557 checked so far",null,19,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","2.5 Logs Out"]
["Colin","2025-07-19T07:35:00","ONSITE only Headpond",null,62,"YES","Dam and 557 rulers",17,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","2.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","3.5 Logs Out",null,62]
["Colin","2025-07-19T07:15:00","RULER only 557 bridge",66,null,"YES","557 ruler",17,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","2.5 Logs Out"]
["Greg","2025-07-18T15:19:00","ONSITE both Headpond & Powerhouse",null,59.5,"YES","557 ruler","23 sunny",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","2.5 Logs Out"]
["Colin","2025-07-18T14:55:00","RULER only 557 bridge",63,null,"YES","557 is, Town Dam not checked yet",23,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","2.5 Logs Out"]
["Colin","2025-07-18T09:17:00","RULER only 557 bridge",62.5,null,"YES","557 is, Town Dam not checked yet",17,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","2.5 Logs Out"]
["Greg","2025-07-17T16:00:00","ONSITE only Headpond",null,53,"YES","557 ruler","23 sunny and breezy",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","2.5 Logs Out",null,55]
["Colin","2025-07-17T15:43:00","RULER only 557 bridge",60,null,"YES","557 is, Town Dam not checked yet",23,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Greg","2025-07-17T12:16:00","RULER only 557 bridge","Bouncing 59-61  ",null,"YES","557 ruler","15 overcast breezy",null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Greg","2025-07-17T09:18:00","ONSITE both Headpond & Powerhouse",null,45,"YES","557 ruler","16 overcast",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","4 Logs Out","6 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",null,49]
["Dana","2025-07-17T06:44:00","RULER only 557 bridge",0.60499999999999998,null,"YES","557 ruler","13C, rainfall warning (50mm) ended 30 mins ago",null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","6 Logs Out"]
["Dana","2025-07-16T15:57:00","RULER only 557 bridge",".62-.63; rainfall warning just issued of rain up to 50mm between today and tomorrow. ",null,"YES","557 ruler","28C",null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","6 Logs Out"]
["Greg","2025-07-16T13:12:00","ONSITE both Headpond & Powerhouse",null,56,"YES","557 ruler","30 full sun",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","6 Logs Out"]
["Colin","2025-07-16T11:54:00","RULER only 557 bridge",63,null,"YES","557 is, Town Dam not checked yet",29,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Dana","2025-07-16T06:55:00","RULER only 557 bridge",0.63,null,"YES","557 is, Town Dam not checked yet","16C, 5mm tonight; 10mm tomorrow",null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Zoran","2025-07-15T15:41:00","ONSITE only Headpond",null,0.61,"YES","557 ruler",31,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","2 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",null,0.59499999999999997]
["Colin","2025-07-15T09:20:00","RULER only 557 bridge",63,null,"YES","557 is, Town Dam not checked yet",22,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","2 Logs Out"]
["Greg","2025-07-14T12:18:00","ONSITE both Headpond & Powerhouse",null,55,"NO",null,"24 sunny and smokey",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","3.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","2 Logs Out","Water is on its way from upstream."]
["Colin","2025-07-14T09:17:00","RULER only 557 bridge","Moving slowly from 60-61",null,"YES","557 ruler",23,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","3.5 Logs Out"]
["Zoran","2025-07-13T10:51:00","ONSITE only Headpond",null,0.52500000000000002,"YES","557 ruler",23,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","3.5 Logs Out",null,0.54]
["Zoran","2025-07-12T17:25:00","ONSITE only Headpond",null,0.68500000000000005,"YES","557 ruler",23,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","3.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out",null,0.67]
["Zoran","2025-07-12T17:11:00","RULER only 557 bridge",0.64,null,"YES","557 ruler",24,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","3.5 Logs Out"]
["Zoran","2025-07-12T10:38:00","RULER only 557 bridge",0.61,null,"YES","557 ruler",24,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","3.5 Logs Out"]
["Colin","2025-07-11T16:01:00","RULER only 557 bridge",63,null,"YES","557 ruler",26,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","2 Logs Out","2 Logs Out","3.5 Logs Out"]
["Colin","2025-07-11T12:02:00","ONSITE both Headpond & Powerhouse",null,59,"YES","557 ruler",25,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","1 Log Out ","1 Log Out ","3.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","3.5 Logs Out",null,58]
["Colin","2025-07-11T09:31:00","RULER only 557 bridge",63,null,"YES","557 ruler",22,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","3.5 Logs Out"]
["Zoran","2025-07-10T14:18:00","ONSITE both Headpond & Powerhouse",null,0.6,"YES","Dam and 557 rulers",28,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","1 Log Out ","1 Log Out ","3.5 Logs Out"]
["Zoran","2025-07-10T09:23:00","RULER only 557 bridge",0.64500000000000002,null,"YES","557 ruler",22,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","3.5 Logs Out"]
["Zoran","2025-07-09T15:27:00","ONSITE both Headpond & Powerhouse",null,0.61,"YES","Dam and 557 rulers",26,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","1 Log Out ","1 Log Out ","3.5 Logs Out"]
["Zoran","2025-07-09T09:29:00","RULER only 557 bridge",0.66,null,"YES","557 ruler",21,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","3.5 Logs Out"]
["Colin","2025-07-08T12:16:00","ONSITE both Headpond & Powerhouse",null,65,"YES","Dam ruler",23,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","1 Log Out ","1 Log Out ","2.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","1 Log Out","1 Log Out ","3.5 Logs Out",null,64]
["Colin","2025-07-08T09:35:00","RULER only 557 bridge",67,null,"NO",null,20,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","2.5 Logs Out",{"$nulls":5},"Lots of rain may adjust gate later today"]
["Dana","2025-07-07T15:29:00","ONSITE only Headpond",null,0.65,"YES","Dam ruler","21C",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","1 Log Out ","1 Log Out ","2.5 Logs Out"]
["Zoran","2025-07-07T12:54:00","ONSITE both Headpond & Powerhouse",null,0.65,"YES","Dam and 557 rulers",24,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","1 Log Out ","1 Log Out ","2 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","1 Log Out","1 Log Out ","2.5 Logs Out",null,"..645"]
["Zoran","2025-07-07T12:14:00","RULER only 557 bridge",0.65500000000000003,null,"YES","557 ruler",23,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","2 Logs Out"]
["Dana","2025-07-07T06:50:00","RULER only 557 bridge",0.65,null,"YES","557 ruler","15C",null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","2 Logs Out"]
["Colin","2025-07-06T07:10:00","RULER only 557 bridge",61,null,"YES","557 ruler",22,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","2 Logs Out"]
["Colin","2025-07-05T08:04:00","ONSITE only Headpond",null,55,"NO",null,22,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","1 Log Out ","1 Log Out ","3 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","1 Log Out","1 Log Out ","2 Logs Out","Closed gate by 1 log water is coming up slowly",56]
["Colin","2025-07-05T07:49:00","RULER only 557 bridge",58,null,"NO",null,21,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","3 Logs Out",{"$nulls":5},"Water coming up slowly "]
["Dana","2025-07-04T17:31:00","RULER only 557 bridge",".585 to .59",null,"NO",null,"22C",null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","3 Logs Out",{"$nulls":5},"Expecting rain this weekend and water from upstream. Will monitor level tomorrow as it is hot during the day before rain, and may require a small adjustment before we receive rain overnight Saturday and Sunday during the day. "]
["Colin","2025-07-04T11:51:00","ONSITE only Headpond",null,49,"NO",null,23,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","1 Log Out ","1 Log Out ","5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","1 Log Out","1 Log Out ","3 Logs Out","Water is rising slowly",50]
["Colin","2025-07-04T11:30:00","RULER only 557 bridge",58.5,null,"NO",null,22,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","5 Logs Out",{"$nulls":5},"Will adjust mechanical gate"]
["Colin","2025-07-04T09:26:00","ONSITE both Headpond & Powerhouse",null,44,"NO",null,20,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","1 Log Out ","1 Log Out ","7 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","1 Log Out","1 Log Out ","5 Logs Out","Not in compliance at dam because the gate is open dont know level at 557 at this time",47]
["Dana","2025-07-04T06:24:00","RULER only 557 bridge",0.60499999999999998,null,"YES","557 ruler","9C",null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","7 Logs Out"]
["Colin","2025-07-03T15:54:00","ONSITE both Headpond & Powerhouse",null,57,"NO",null,26,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","1 Log Out ","1 Log Out ","6 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","1 Log Out","1 Log Out ","7 Logs Out","Water is dropping slowly"]
["Colin","2025-07-03T15:25:00","RULER only 557 bridge","Wavy but slows to about 67",null,"NO",null,25,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","4 Logs Out",{"$nulls":5},"Level dropping slowly should be in compliance soon"]
["Colin","2025-07-03T11:39:00","RULER only 557 bridge",69,null,"NO",null,23,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","4 Logs Out",{"$nulls":5},"Water is dropping slowly"]
["Dana","2025-07-03T07:02:00","ONSITE both Headpond & Powerhouse",null,0.65,"YES","Dam ruler",12,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","1 Log Out ","1 Log Out ","4 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","1 Log Out","1 Log Out ","6 Logs Out",null,0.63]
["Dana","2025-07-03T06:49:00","RULER only 557 bridge",0.70499999999999996,null,"NO",null,11,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","4 Logs Out",{"$nulls":5},"Increase from upstream passing recent rainfall"]
["Colin","2025-07-02T15:46:00","ONSITE only Headpond",null,71,"NO",null,29,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","2 Logs Out","1 Log Out ","1 Log Out ","2 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","1 Log Out","1 Log Out ","4 Logs Out","Lots of rain",69]
["Colin","2025-07-02T15:17:00","RULER only 557 bridge",72,null,"NO",null,29,null,"Jun. 1 to Sep. 30",null,"2 Logs Out","1 Log Out ","1 Log Out ","2 Logs Out",{"$nulls":5},"Lots of rain"]
["Colin","2025-07-02T13:03:00","ONSITE both Headpond & Powerhouse",null,72.5,"NO",null,25,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","1 Log Out ","Both OFF = NO LOGS OUT","2 Logs Out","1 Log Out","1 Log Out ","2 Logs Out","Lots of rain",72.5]
["Colin","2025-07-02T09:28:00","RULER only 557 bridge",71,null,"NO",null,22,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","1 Log Out ","1 Log Out ",{"$nulls":5},"Significantrainfall "]
["Dana","2025-07-01T13:39:00","RULER only 557 bridge",".66 (.655-.67, windy) ",null,"YES","557 ruler","23c",null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","1 Log Out ","1 Log Out "]
["Dana","2025-06-28T17:14:00","RULER only Dam",null,0.52,"NO",null,19,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","1 Log Out ","4.5 Logs Out",{"$nulls":5},"Coming up slowly. "]