{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["2024_Town_Dam_Month-to-Date_Wat"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2024_Town_Dam_Month-to-Date_Wat","index":0,"n_rows":59,"n_cols":22,"rows_kept":59,"cut":false,"hidden":false,"merged":[]}
["Form Completed By:","Date and Time of Check-In","Type of Check-In","Hwy 557 Ruler","Dam Ruler (N/A when Logs Out)","Is Water Level In Compliance","Which Ruler is in Compliance?","Weather (temperature in celsius)","WATER TEMPERATURE if required","Water Management Plan Period","Bay 1: TURBINES","Bay 2: 6 Logs Maximum","Bay 3: 8 Logs Maximum","Bay 4: 10 Logs Maximum","Bay 5: MECH GATE MAX 9 Logs","Bay 1 After change: TURBINES","Bay 2 After change: 6 Logs Maximum","Bay 3 after change: 8 Logs Maximum","Bay 4 after change: 10 Logs Maximum","Bay 5 after change: MECH GATE MAX 9 Logs","OOC Comment","Dam Ruler After Log Changes"]
["Colin","2025-02-27T13:55:00","RULER only 557 bridge",56,null,"NO",null,4,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","3 Logs Out",{"$nulls":5},"Water on its way"]
["Colin","2025-02-27T11:36:00","ONSITE both Headpond & Powerhouse",null,50,"NO",null,4,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","3 Logs Out","3 Logs Out","3 Logs Out","3 Logs Out",{"$nulls":5},"Water on its way"]
["Colin","2025-02-27T09:14:00","RULER only 557 bridge",56,null,"NO",null,3,null,"Feb. 1 to Mar. 31",null,"3 Logs Out","3 Logs Out","3 Logs Out","3 Logs Out",{"$nulls":5},"Water on its way"]
["Colin","2025-02-26T15:53:00","ONSITE both Headpond & Powerhouse",null,50,"NO",null,5,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","3 Logs Out","4 Logs Out","Both OFF = NO LOGS OUT","3 Logs Out","3 Logs Out","3 Logs Out","3 Logs Out","Water on its way"]
["Colin","2025-02-26T15:07:00","RULER only 557 bridge",55,null,"NO",null,5,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","3 Logs Out","4 Logs Out",{"$nulls":5},"Water on its way"]
["Dana","2025-02-26T05:49:00","RULER only 557 bridge",0.56000000000000005,null,"NO",null,-8,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","3 Logs Out","4 Logs Out",{"$nulls":5},"Low expecting water from upstream. "]
["Colin","2025-02-25T15:01:00","ONSITE both Headpond & Powerhouse",null,52,"NO",null,6,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","3 Logs Out","4 Logs Out","Water on its way"]
["Colin","2025-02-25T14:12:00","RULER only 557 bridge",56,null,"NO",null,6,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out",{"$nulls":5},"Water on its way"]
["Dana","2025-02-25T06:54:00","RULER only 557 bridge",0.56999999999999995,null,"NO",null,-2,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out",{"$nulls":5},"Water incoming from above, plus possible runoff from milder temps."]
["Colin","2025-02-24T16:01:00","RULER only 557 bridge",57,null,"NO",null,5,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out",{"$nulls":5},"Water on its way"]
["Colin","2025-02-24T14:11:00","ONSITE both Headpond & Powerhouse",null,53,"NO",null,5,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","4.5 Logs Out","Water on its way"]
["Danny","2025-02-24T13:46:00","ONSITE only Powerhouse",{"$nulls":6},"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Colin","2025-02-24T13:42:00","RULER only 557 bridge",57,null,"NO",null,4,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",{"$nulls":5},"Water on its way"]
["Dana","2025-02-24T06:39:00","RULER only 557 bridge",".57 approx",null,"NO",null,"-2C",null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",{"$nulls":5},"Expecting upstream water"]
["Zoran","2025-02-23T11:17:00","RULER only 557 bridge",0.59,null,"NO",null,-2,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",{"$nulls":5},"Under compliance. Water expected from upstream to bring the level up."]
["Zoran","2025-02-22T11:06:00","RULER only 557 bridge",0.59,null,"NO",null,-4,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",{"$nulls":5},"Under compliance. Water is expected from upstream shortly."]
["Matt","2025-02-21T14:01:00","ONSITE both Headpond & Powerhouse",null,55,"YES","557 ruler","-6c",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","3.5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",null,55]
["Colin","2025-02-21T09:33:00","RULER only 557 bridge",59,null,"NO",null,-4,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","3.5 Logs Out",{"$nulls":5},"Water on its way"]
["Matt","2025-02-20T15:18:00","ONSITE both Headpond & Powerhouse",null,56,"YES","557 ruler","-7c",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","3.5 Logs Out"]
["Matt","2025-02-20T14:53:00","ONSITE both Headpond & Powerhouse",null,56,null,null,"-3c",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","3.5 Logs Out"]
["Colin","2025-02-20T14:38:00","RULER only 557 bridge",58.5,null,"NO",null,-4,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out",{"$nulls":5},"Water on its way"]
["Colin","2025-02-19T13:01:00","RULER only 557 bridge",57,null,"NO",null,-11,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out",{"$nulls":5},"Water on its way"]
["Matt","2025-02-19T09:49:00","ONSITE both Headpond & Powerhouse",null,55,"NO",null,"-12c",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out",{"$nulls":5},"Water coming from above."]
["Matt","2025-02-18T11:28:00","ONSITE both Headpond & Powerhouse",null,54,"YES","557 ruler","-13c",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out"]
["Colin","2025-02-18T09:41:00","RULER only 557 bridge",57,null,"NO",null,-14,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out",{"$nulls":5},"Water on its way"]
["Dana","2025-02-17T08:48:00","RULER only 557 bridge",0.56999999999999995,null,"NO",null,-23,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out",{"$nulls":5},"Expecting water from upstream. Slowly coming into compliance "]
["Dana","2025-02-16T11:14:00","RULER only 557 bridge",".54, (+/- 1, wind)",null,"NO",null,"-11, windy",null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out",{"$nulls":5},"Expecting scarfe water"]
["Dana","2025-02-15T17:19:00","ONSITE only Headpond",null,0.48,"NO",null,-5,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out",{"$nulls":5},"Expecting upstream water"]
["Dana","2025-02-15T16:53:00","RULER only 557 bridge",0.51500000000000001,null,"NO",null,-5,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out",{"$nulls":5},"Expecting upstream water"]
["Dana","2025-02-15T10:37:00","ONSITE both Headpond & Powerhouse",null,0.45,"NO",null,-6,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","3 Logs Out","Expecting upstream water",0.48]
["Dana","2025-02-15T09:36:00","RULER only 557 bridge",".505, upstream water coming ",null,"NO",null,-7,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out",{"$nulls":5},"Waiting for upstream water to arrive "]
["Greg","2025-02-14T11:45:00","ONSITE both Headpond & Powerhouse",null,47,"NO",null,"-9 sunny",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out",{"$nulls":5},"Water is on its way from upstream"]
["Colin","2025-02-14T09:35:00","RULER only 557 bridge",52,null,"NO",null,-11,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out",{"$nulls":5},"Water on its wY"]
["Greg","2025-02-13T15:15:00","ONSITE both Headpond & Powerhouse",null,43,"NO",null,"-8 sunny",null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out",{"$nulls":5},"Low water levels and water is on its way."]
["Colin","2025-02-13T09:54:00","RULER only 557 bridge",55,null,"NO",null,-9,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out",{"$nulls":5},"Water on its way"]
["Colin","2025-02-12T15:08:00","RULER only 557 bridge",57,null,"NO",null,-8,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out",{"$nulls":5},"Water on its way"]
["Greg","2025-02-12T11:24:00","ONSITE both Headpond & Powerhouse",null,50,"NO",null,-7,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out",{"$nulls":5},"Low water levels . Water is coming from upstream as dam upstream is spilling over."]
["Colin","2025-02-12T09:30:00","RULER only 557 bridge",57,null,"NO",null,-10,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out",{"$nulls":5},"Close mechanical gate"]
["Dana","2025-02-12T01:31:00","RULER only 557 bridge",".57, expecting upstream water",null,"NO",null,"-20c",null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out",{"$nulls":5},"Water coming from scarfe "]
["Zoran","2025-02-11T15:46:00","ONSITE only Headpond",null,0.54,"NO",null,-10,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out","Both OFF = NO LOGS OUT","2 Logs Out","2 Logs Out","2 Logs Out","5 Logs Out","Under compliance. More water expected from upstream.",0.53]
["Zoran","2025-02-11T12:50:00","ONSITE both Headpond & Powerhouse",null,0.54,"NO",null,-10,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",{"$nulls":5},"Under compliance. Expecting more water to come from upstream to raise the level."]
["Zoran","2025-02-11T10:00:00","RULER only 557 bridge",0.59,null,"NO",null,-14,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",{"$nulls":5},"We are drawing down in anticipation of more water coming from upstream."]
["Dana","2025-02-10T21:53:00","ONSITE only Powerhouse",null,null,"YES","557 ruler",null,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Jason","2025-02-10T14:24:00","ONSITE both Headpond & Powerhouse",null,55,"NO",null,-10,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",{"$nulls":5},"Low water "]
["Colin","2025-02-10T09:54:00","RULER only 557 bridge",60,null,"YES","557 ruler",-10,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Colin","2025-02-09T08:35:00","RULER only 557 bridge",61,null,"YES","557 ruler",-8,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Colin","2025-02-08T07:42:00","RULER only 557 bridge",61,null,"YES","557 ruler",-13,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Colin","2025-02-07T14:36:00","ONSITE both Headpond & Powerhouse",null,55,"YES","557 ruler",-1,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Colin","2025-02-07T09:57:00","RULER only 557 bridge",61,null,"YES","557 ruler",-7,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Jason","2025-02-06T15:26:00","ONSITE both Headpond & Powerhouse",null,57,"NO",null,-3,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out",{"$nulls":5},"High water"]
["Colin","2025-02-06T09:33:00","RULER only 557 bridge",61,null,"YES","557 ruler",-5,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Colin","2025-02-05T14:48:00","ONSITE both Headpond & Powerhouse",null,55,"YES","557 ruler",-4,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Jason","2025-02-05T09:27:00","RULER only 557 bridge",61,null,"YES","557 ruler",-13,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Zoran","2025-02-04T13:20:00","ONSITE both Headpond & Powerhouse",null,0.56999999999999995,"YES","557 ruler",-7,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Zoran","2025-02-04T09:41:00","RULER only 557 bridge",0.61,null,"YES","557 ruler",-11,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Jason","2025-02-03T13:48:00","ONSITE both Headpond & Powerhouse",null,57,"YES","557 ruler",-1,null,"Feb. 1 to Mar. 31","NO LOGS OUT = Both Off","2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Colin","2025-02-03T09:43:00","RULER only 557 bridge",61,null,"YES","557 ruler",1,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]
["Zoran","2025-02-02T14:29:00","RULER only 557 bridge",0.61,null,"YES","557 ruler",-5,null,"Feb. 1 to Mar. 31",null,"2 Logs Out","2 Logs Out","2 Logs Out","4 Logs Out"]