{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["2025_Town_Dam_Month-to-Date_Wat"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2025_Town_Dam_Month-to-Date_Wat","index":0,"n_rows":67,"n_cols":22,"rows_kept":67,"cut":false,"hidden":false,"merged":[]}
["Form Completed By:","Date and Time of Check-In","Type of Check-In","Hwy 557 Ruler","Dam Ruler (N/A when Logs Out)","Is Water Level In Compliance","Which Ruler is in Compliance?","Weather (temperature in celsius)","WATER TEMPERATURE if required","Water Management Plan Period","Bay 1: TURBINES","Bay 2: 6 Logs Maximum","Bay 3: 8 Logs Maximum","Bay 4: 10 Logs Maximum","Bay 5: MECH GATE MAX 9 Logs","Bay 1 After change: TURBINES","Bay 2 After change: 6 Logs Maximum","Bay 3 after change: 8 Logs Maximum","Bay 4 after change: 10 Logs Maximum","Bay 5 after change: MECH GATE MAX 9 Logs","OOC Comment","Dam Ruler After Log Changes"]
["Zoran","2025-05-31T11:08:00","RULER only 557 bridge",0.67500000000000004,null,"YES","557 ruler",14,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","1 Log Out ","NO LOGS OUT","4 Logs Out"]
["Zoran","2025-05-30T15:05:00","ONSITE both Headpond & Powerhouse",null,0.69499999999999995,"YES","Dam and 557 rulers",15,16,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","2.5 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","NO LOGS OUT","4 Logs Out",null,0.67500000000000004]
["Dana","2025-05-30T08:10:00","RULER only 557 bridge",0.69750000000000001,null,"YES","557 ruler",11,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","NO LOGS OUT","1 Log Out ","2.5 Logs Out"]
["Colin","2025-05-29T13:24:00","ONSITE both Headpond & Powerhouse",null,68.5,"YES","Dam and 557 rulers",21,19,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","NO LOGS OUT","2.5 Logs Out"]
["Colin","2025-05-29T12:05:00","RULER only 557 bridge",69,null,"YES","557 ruler",21,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","1 Log Out ","NO LOGS OUT","2 Logs Out"]
["Dana","2025-05-29T06:18:00","RULER only 557 bridge",0.69,null,"YES","557 ruler",10,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","1 Log Out ","1 Log Out ","2 Logs Out"]
["Colin","2025-05-28T15:04:00","ONSITE both Headpond & Powerhouse",null,62,"YES","Dam and 557 rulers",21,17,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","1 Log Out","3 Logs Out","NO LOGS OUT","4 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","NO LOGS OUT","4 Logs Out",null,63]
["Colin","2025-05-28T10:01:00","RULER only 557 bridge",67.5,null,"YES","557 ruler",20,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","NO LOGS OUT","4 Logs Out"]
["Zoran","2025-05-27T16:16:00","ONSITE both Headpond & Powerhouse",null,0.65500000000000003,"YES","Dam and 557 rulers",22,16,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","1 Log Out","3 Logs Out","NO LOGS OUT","3.5 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","3 Logs Out","NO LOGS OUT","4 Logs Out",null,0.65]
["Zoran","2025-05-27T14:19:00","RULER only 557 bridge",0.69,null,"YES","557 ruler",23,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","NO LOGS OUT","3.5 Logs Out"]
["Colin","2025-05-26T13:19:00","ONSITE both Headpond & Powerhouse",null,67,"YES","Dam and 557 rulers",21,15,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","1 Log Out","3 Logs Out","NO LOGS OUT","3 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","3 Logs Out","NO LOGS OUT","3.5 Logs Out"]
["Colin","2025-05-26T09:12:00","RULER only 557 bridge",69,null,"YES","557 ruler",13,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","NO LOGS OUT","3 Logs Out"]
["Colin","2025-05-25T07:59:00","RULER only 557 bridge",66.5,null,"YES","557 ruler",10,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","NO LOGS OUT","3 Logs Out"]
["Colin","2025-05-24T07:13:00","RULER only 557 bridge",65,null,"YES","557 ruler",9,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","NO LOGS OUT","3 Logs Out"]
["Colin","2025-05-23T13:16:00","ONSITE both Headpond & Powerhouse",null,61,"YES","Dam and 557 rulers",13,13,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","1 Log Out","3 Logs Out","NO LOGS OUT","4 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","3 Logs Out","NO LOGS OUT","3 Logs Out"]
["Colin","2025-05-23T11:59:00","RULER only 557 bridge",64,null,"YES","557 ruler",11,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","NO LOGS OUT","4 Logs Out"]
["Greg","2025-05-22T14:36:00","ONSITE both Headpond & Powerhouse",null,62,"YES","Dam ruler","12 overcast",13,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","1 Log Out","3 Logs Out","NO LOGS OUT","NO LOGS OUT - GATE CLOSED","Both OFF = NO LOGS OUT","1 Log Out","3 Logs Out","NO LOGS OUT","4 Logs Out",null,62]
["Colin","2025-05-22T12:15:00","RULER only 557 bridge","64-65 wavy",null,"YES","557 ruler",11,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","NO LOGS OUT","4 Logs Out"]
["Greg","2025-05-22T09:42:00","ONSITE only Headpond",null,61,"YES","Dam ruler","11 overcast",13,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","1 Log Out","3 Logs Out","5 Logs Out","NO LOGS OUT - GATE CLOSED","Both OFF = NO LOGS OUT","1 Log Out","3 Logs Out","NO LOGS OUT","4 Logs Out",null,62]
["Dana","2025-05-22T06:45:00","RULER only 557 bridge","0.655 (.645-.665)",null,"YES","557 ruler","7C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","5 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Greg","2025-05-21T15:59:00","ONSITE both Headpond & Powerhouse",null,62,"YES","Dam and 557 rulers","12 overcast",12,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","1 Log Out","3 Logs Out","5 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Greg","2025-05-21T15:27:00","RULER only 557 bridge","Bouncing between 65-66 with wind",null,"YES","557 ruler","12 overcast",null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","5 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Dana","2025-05-21T07:45:00","RULER only 557 bridge","0.655 (.65-.66)",null,"YES","557 ruler","9C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","5 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Colin","2025-05-20T09:23:00","RULER only 557 bridge",66,null,"YES","557 ruler",10,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","5 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Dana","2025-05-19T10:31:00","RULER only 557 bridge",0.67,null,"YES","557 ruler","6C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","5 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Dana","2025-05-18T09:36:00","RULER only 557 bridge","0.67 (0.66-.068)",null,"YES","557 ruler","6C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","5 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Dana","2025-05-17T09:37:00","RULER only 557 bridge",0.67,null,"YES","557 ruler",12,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","5 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Zoran","2025-05-16T11:57:00","RULER only 557 bridge",0.65500000000000003,null,"YES","557 ruler",18,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","5 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Dana","2025-05-16T05:50:00","RULER only 557 bridge",0.65500000000000003,null,"YES","557 ruler","14, just had a couple hours of rain.",null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","5 Logs Out","NO LOGS OUT - GATE CLOSED"]
["Zoran","2025-05-15T12:47:00","ONSITE both Headpond & Powerhouse",null,0.53,"YES","557 ruler",19,13,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","1 Log Out","3 Logs Out","5 Logs Out","3 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","3 Logs Out","5 Logs Out","GATE CLOSED = NO LOGS OUT",null,0.55000000000000004]
["Zoran","2025-05-15T12:23:00","RULER only 557 bridge",0.61499999999999999,null,"YES","557 ruler",19,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","5 Logs Out","3 Logs Out"]
["Zoran","2025-05-15T10:05:00","ONSITE only Headpond",null,0.43,"YES","557 ruler",18,"NA","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","1 Log Out","3 Logs Out","5 Logs Out","7 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","3 Logs Out","5 Logs Out","3 Logs Out",null,0.5]
["Dana","2025-05-14T18:18:00","RULER only 557 bridge",0.66,null,"YES","557 ruler",18,null,"Apr. 1 to May 31 *Take Water Temp*",null,"1 Log Out","3 Logs Out","5 Logs Out","7 Logs Out"]
["Colin","2025-05-14T15:53:00","ONSITE only Headpond",null,43,"YES","557 ruler",17,13,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","3 Logs Out","5 Logs Out","5 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","3 Logs Out","5 Logs Out","7 Logs Out",null,45]
["Zoran","2025-05-14T15:35:00","RULER only 557 bridge",0.66,null,"YES","557 ruler",17,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","3 Logs Out","5 Logs Out","5 Logs Out"]
["Colin","2025-05-14T12:16:00","RULER only 557 bridge",66.5,null,"YES","557 ruler",17,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","3 Logs Out","5 Logs Out","7 Logs Out"]
["Zoran","2025-05-14T10:04:00","ONSITE both Headpond & Powerhouse",null,37,"YES","557 ruler",16,11,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","3 Logs Out","5 Logs Out","7 Logs Out","Both OFF = NO LOGS OUT","6 Logs Out (MAX)","3 Logs Out","5 Logs Out","5 Logs Out",null,0.43]
["Dana","2025-05-14T09:23:00","RULER only 557 bridge",0.67,null,"YES","557 ruler",15,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","3 Logs Out","5 Logs Out","6 Logs Out"]
["Dana","2025-05-13T06:11:00","RULER only 557 bridge",".695-.70",null,"YES","557 ruler","5C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","3 Logs Out","5 Logs Out","7 Logs Out"]
["Dana","2025-05-12T16:50:00","RULER only 557 bridge",0.71,null,"YES","557 ruler","21C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","3 Logs Out","5 Logs Out","7 Logs Out"]
["Colin","2025-05-12T10:23:00","RULER only 557 bridge",71,null,"YES","557 ruler",19,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","3 Logs Out","5 Logs Out","7 Logs Out"]
["Greg","2025-05-12T09:25:00","ONSITE both Headpond & Powerhouse",null,44,"YES","557 ruler","15 sunny",12,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","3 Logs Out","5 Logs Out","6 Logs Out","Both OFF = NO LOGS OUT","6 Logs Out (MAX)","3 Logs Out","5 Logs Out","7 Logs Out",null,41]
["Dana","2025-05-12T06:10:00","RULER only 557 bridge",0.71,null,"YES","557 ruler","1C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","3 Logs Out","5 Logs Out","6 Logs Out"]
["Dana","2025-05-11T08:43:00","RULER only 557 bridge",0.7,null,"YES","557 ruler","6C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","3 Logs Out","5 Logs Out","6 Logs Out"]
["Matt","2025-05-09T14:10:00","ONSITE only Headpond",null,null,"NO",null,"19c","10c","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","8 Logs Out (MAX)","5 Logs Out","9 Logs Out (MAX)","Both OFF = NO LOGS OUT","6 Logs Out (MAX)","3 Logs Out","5 Logs Out","6 Logs Out","Regulating water.",27]
["Colin","2025-05-09T14:01:00","RULER only 557 bridge",61,null,"YES","557 ruler",20,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","5 Logs Out","9 Logs Out (MAX)"]
["Matt","2025-05-09T09:42:00","ONSITE only Headpond",null,"?","NO",null,"13c","9C (9:45 a.m).","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)","Both OFF = NO LOGS OUT","6 Logs Out (MAX)","8 Logs Out (MAX)","5 Logs Out","9 Logs Out (MAX)","Trying to regulate.",0.5]
["Dana","2025-05-09T06:59:00","RULER only 557 bridge",".62 (.615-.625); notified of a high water complaint yesterday from Duborne resident. Almost at minimum compliance though, so looking to start closing dam up as upstream water is choked at Cataract Falls. ",null,"YES","557 ruler","-2C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Dana","2025-05-08T06:20:00","RULER only 557 bridge",0.66,null,"YES","557 ruler",-2,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Matt","2025-05-07T11:50:00","ONSITE only Headpond",null,"?","YES","557 ruler","14c","11c","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Colin","2025-05-07T11:26:00","RULER only 557 bridge","69-70",null,"YES","557 ruler",11,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Colin","2025-05-07T09:11:00","RULER only 557 bridge","69-70",null,"YES","557 ruler",9,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Matt","2025-05-06T11:28:00","ONSITE only Headpond",null,"?","YES","557 ruler","13c","11c","Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Matt","2025-05-06T11:08:00","RULER only 557 bridge",71,null,"YES","557 ruler",18,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Dana","2025-05-06T04:36:00","RULER only 557 bridge",".71-.72, up to 3mm rain possible today.",null,"YES","557 ruler","11C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Dana","2025-05-05T07:09:00","RULER only 557 bridge",".735 (.73-.74)",null,"YES","557 ruler",8,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Colin","2025-05-04T07:15:00","RULER only 557 bridge","Slowly moving between 74-75",null,"YES","557 ruler",1,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Colin","2025-05-03T08:38:00","RULER only 557 bridge",75,null,"YES","557 ruler",5,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Colin","2025-05-02T15:30:00","RULER only 557 bridge",73,null,"YES","557 ruler",10,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Colin","2025-05-02T11:56:00","RULER only 557 bridge",73,null,"YES","557 ruler",6,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Colin","2025-05-02T09:44:00","ONSITE both Headpond & Powerhouse",null,"Below zero","YES","557 ruler",8,8,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Dana","2025-05-02T07:29:00","RULER only 557 bridge",".73 (.725-.735 w/current)",null,"YES","557 ruler","5C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Dana","2025-05-01T18:48:00","RULER only 557 bridge",".72 (dips to .71 w/current)",null,"YES","557 ruler","4C",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Colin","2025-05-01T15:38:00","RULER only 557 bridge",71,null,"YES","557 ruler",6,null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Colin","2025-05-01T09:42:00","ONSITE both Headpond & Powerhouse",null,"Below zero","YES","557 ruler",8,7,"Apr. 1 to May 31 *Take Water Temp*","NO LOGS OUT = Both Off","6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]
["Dana","2025-05-01T06:43:00","RULER only 557 bridge",".71-.715",null,"YES","557 ruler","-2, ~25mm rain in next 24hrs possible",null,"Apr. 1 to May 31 *Take Water Temp*",null,"6 Logs Out (MAX)","8 Logs Out (MAX)","10 Logs Out (MAX)","9 Logs Out (MAX)"]