## 2026_Town_Dam_Month-to-Date_Wat
Form Completed By: | Date and Time of Check-In | Hwy 557 Ruler | Dam Ruler (N/A when Logs Out) | Is Water Level In Compliance | OOC Comment | GM Steps to Correct (new) | Weather (temperature in celsius) | Water Management Plan Period | Type of Check-In | Bay 1: TURBINES | Bay 2: 6 Logs Maximum | Bay 3: 8 Logs Maximum | Bay 4: 10 Logs Maximum | Bay 5: MECH GATE MAX 9 Logs | Bay 1 After change: TURBINES | Bay 2 After change: 6 Logs Maximum | Bay 3 after change: 8 Logs Maximum | Bay 4 after change: 10 Logs Maximum | Bay 5 after change: MECH GATE MAX 9 Logs | Dam Ruler After Log Changes | WATER TEMPERATURE if required
Zoran | 2026-08-17 11:04 a.m. |  | 0.615 | YES |  |  | 22 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-08-17 9:01 a.m. | 0.615 |  | YES |  |  | 18 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-16 7:05 a.m. | 61 |  | YES |  |  | 21 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-15 6:19 a.m. |  | 61 | YES |  |  | 17 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-14 2:25 p.m. |  | 61 | YES |  |  | 27 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-14 9:23 a.m. | 61 |  | YES |  |  | 21 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-13 3:32 p.m. |  | 61 | YES |  |  | 28 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-13 1:38 p.m. | 61 |  | YES |  |  | 28 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-12 12:32 p.m. |  | 61 | YES |  |  | 25 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-12 9:20 a.m. | 61.5 |  | YES |  |  | 20 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-11 12:02 p.m. |  | 61.5 | YES |  |  | 25 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-08-11 9:20 a.m. | 62 |  | YES |  |  | 19 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Greg | 2026-08-10 12:23 p.m. |  | 61 | YES |  |  | 23 sunny | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | GATE CLOSED = NO LOGS OUT
Greg | 2026-08-10 9:12 a.m. | 61.5 - 62 |  | YES |  |  | 23 overcast | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out
Dana | 2026-08-09 9:19 a.m. | .62, calm |  | Yes, but need to provide additional information regarding Water Levels | Likely closing remaining .5 log on mechanical gate today or tomorrow. 1 log out in each of the 3 log bays not affecting level as they are not spilling above them. |  | 15C, minimal chance of rain in 14-day forecast | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out
Zoran | 2026-08-07 11:15 a.m. |  | 0.615 | YES |  |  | 23 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Zoran | 2026-08-07 9:29 a.m. | .6175 (.61-.63) |  | YES |  |  | 20 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Zoran | 2026-08-06 11:29 a.m. |  | 0.6175 | YES |  |  | 24 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out | 0.6175
Zoran | 2026-08-06 9:33 a.m. | 0.625 |  | YES |  |  | 21 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Zoran | 2026-08-05 2:54 p.m. |  | 0.625 | YES |  |  | 22 | Jun. 1 to Sep. 30 | RULER only Dam |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Zoran | 2026-08-05 2:25 p.m. | 0.625 |  | YES |  |  | 22 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Zoran | 2026-08-05 11:17 a.m. |  | 0.6275 | YES |  |  | 20 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Zoran | 2026-08-05 9:17 a.m. | 0.63 |  | YES |  |  | 19 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Greg | 2026-08-04 9:22 a.m. | 63.5 |  | YES |  |  | 18 sunny | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Zoran | 2026-08-03 11:09 a.m. |  | 0.63 | YES |  |  | 24 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out | 0.63
Zoran | 2026-08-03 9:10 a.m. | 0.645 |  | YES |  |  | 22 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Zoran | 2026-08-02 8:54 a.m. |  | 0.655 | YES |  |  | 17 | Jun. 1 to Sep. 30 | RULER only Dam |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Zoran | 2026-08-01 6:43 p.m. |  | 0.655 | Yes, but need to provide additional information regarding Water Levels | 50-80mm weather warning in effect. 80% of ~19mm rain in next 2 hrs; opened gate further |  | 24 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out | 0.655
Zoran | 2026-08-01 11:16 a.m. |  | 0.6675 | NO | Heavy rain from Storm last night jumped level. | Opened gate to 1.5 to bring into compliance and make room for more rain forecasted today. Weather statement potential of 50-100mm and if received will need to open further as grounds are saturated/DS. | 22 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out | 0.66
Zoran | 2026-08-01 10:01 a.m. | 0.67 |  | No, but only 557 checked so far |  |  | 22 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-31 11:45 a.m. |  | 0.61 | YES |  |  | 25 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-31 9:15 a.m. | 0.61 |  | YES |  |  | 18 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-30 11:21 a.m. |  | 0.61 | YES |  |  | 25 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-30 9:19 a.m. | 0.615 |  | YES |  |  | 20 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-29 9:00 p.m. | 0.62 |  | YES |  |  | 20 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-29 1:53 p.m. |  | 0.63 | YES |  |  | 28 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-28 11:14 a.m. |  | .64(.63-.65) | YES |  |  | 23 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-27 11:10 a.m. |  | 0.63 | YES |  |  | 21 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Zoran | 2026-07-27 9:16 a.m. | 0.63 |  | YES |  |  | 21 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-07-26 7:31 a.m. | 62.5-63 |  | YES |  |  | 19 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-07-25 7:57 a.m. |  | 62.5 | YES |  |  | 19 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-07-24 11:46 a.m. |  | 62.5 | YES |  |  | 24 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-07-24 9:16 a.m. | 63 |  | YES |  |  | 19 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Greg | 2026-07-22 11:20 a.m. |  | 65 | YES |  |  | 20 sunny | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-07-22 9:21 a.m. | A bit choppy but looks 63.5 |  | YES |  |  | 17 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-07-21 11:46 a.m. |  | 63.5 | YES |  |  | 24 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-07-21 9:09 a.m. | 64.5 |  | YES |  |  | 21 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-07-20 1:02 p.m. |  | 64 | YES |  |  | 21 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-07-20 11:13 a.m. |  | 64 | YES |  |  | 20 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Colin | 2026-07-20 9:13 a.m. | 64.5 |  | YES |  |  | 19 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Dana | 2026-07-20 6:54 a.m. |  | 0.64 | Yes, but need to provide additional information regarding Water Levels | 60% 1-3mm chance of rain this morning, 90% of 5-10mm rain this evening; 100% of ~10mm overnight. Not spilling in any bay. Will monitor forecast to open during or ahead of storm. |  | 16C | Jun. 1 to Sep. 30 | RULER only Dam |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Dana | 2026-07-19 8:59 a.m. | .6425-.645 |  | Yes, but need to provide additional information regarding Water Levels | Will open gate as needed if we get the rain forecasted tomorrow if levels trending to peak over compliance. One log out in each bay of logs, but dropping would not change level, as current level doesn't exceed the logs. |  | 14, 10-15mm rain forecasted tomorrow at 100% | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Dana | 2026-07-18 9:30 a.m. |  | .645-.6475 | Yes, but need to provide additional information regarding Water Levels | 557 not checked today, but as all logs are in that prevent water from passing over them, the levels should be within .5-1cm difference from here at max. |  | 19C | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED