{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["2025_Town_Dam_Month-to-Date_Wat"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2025_Town_Dam_Month-to-Date_Wat","index":0,"n_rows":53,"n_cols":22,"rows_kept":53,"cut":false,"hidden":false,"merged":[]}
["Form Completed By:","Date and Time of Check-In","Type of Check-In","Hwy 557 Ruler","Dam Ruler (N/A when Logs Out)","Is Water Level In Compliance","Which Ruler is in Compliance?","Weather (temperature in celsius)","WATER TEMPERATURE if required","Water Management Plan Period","Bay 1: TURBINES","Bay 2: 6 Logs Maximum","Bay 3: 8 Logs Maximum","Bay 4: 10 Logs Maximum","Bay 5: MECH GATE MAX 9 Logs","Bay 1 After change: TURBINES","Bay 2 After change: 6 Logs Maximum","Bay 3 after change: 8 Logs Maximum","Bay 4 after change: 10 Logs Maximum","Bay 5 after change: MECH GATE MAX 9 Logs","OOC Comment","Dam Ruler After Log Changes"]
["Colin","2025-09-30T11:55:00","ONSITE both Headpond & Powerhouse",null,60,"YES","Dam and 557 rulers",19,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out ","Both OFF = NO LOGS OUT","NO LOGS OUT","1 Log Out","1 Log Out ","1.5 Logs Out"]
["Colin","2025-09-30T09:19:00","RULER only 557 bridge",60,null,"YES","557 is, Town Dam not checked yet",16,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Zoran","2025-09-29T12:11:00","ONSITE both Headpond & Powerhouse",null,0.59,"NO",null,17,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out ",{"$nulls":5},"Under compliance. More water is coming from upstream."]
["Zoran","2025-09-29T09:24:00","RULER only 557 bridge",0.59499999999999997,null,"NO",null,12,null,"Jun. 1 to Sep. 30",null,"1 Log Out","1 Log Out ","1 Log Out ","1 Log Out ",{"$nulls":5},"Under compliance. More water coming from upstream."]
["Colin","2025-09-28T08:00:00","RULER only 557 bridge",59,null,"No, but only 557 checked so far",null,6,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Colin","2025-09-27T07:14:00","RULER only 557 bridge",59,null,"No, but only 557 checked so far",null,6,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Matt","2025-09-26T12:28:00","ONSITE only Headpond",null,59,"NO",null,"17c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","1.5 Logs Out","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","1 Log Out ","1 Log Out ","Will build up."]
["Colin","2025-09-26T09:19:00","RULER only 557 bridge",60,null,"YES","557 is, Town Dam not checked yet",14,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1.5 Logs Out"]
["Matt","2025-09-25T12:24:00","ONSITE only Headpond",null,59,"NO",null,"20c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","1.5 Logs Out",{"$nulls":5},"Will top up,rain forecasted."]
["Colin","2025-09-25T09:44:00","RULER only 557 bridge",61,null,"YES","557 is, Town Dam not checked yet",20,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1.5 Logs Out"]
["Matt","2025-09-24T12:09:00","ONSITE only Headpond",null,60,"YES","Dam and 557 rulers","20c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","1.5 Logs Out"]
["Colin","2025-09-24T09:30:00","RULER only 557 bridge",61,null,"YES","557 is, Town Dam not checked yet",18,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1.5 Logs Out"]
["Matt","2025-09-23T12:22:00","ONSITE only Headpond",null,61,"YES","Dam and 557 rulers","19c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ","1 Log Out ","Both OFF = NO LOGS OUT","1 Log Out","1 Log Out","1 Log Out ","1.5 Logs Out"]
["Colin","2025-09-23T11:55:00","RULER only 557 bridge",61,null,"YES","557 is, Town Dam not checked yet",19,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Dana","2025-09-23T06:34:00","RULER only 557 bridge",0.61,null,"YES","557 is, Town Dam not checked yet",16,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Colin","2025-09-22T12:30:00","ONSITE both Headpond & Powerhouse",null,59.5,"YES","557 ruler",20,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1.5 Logs Out","Both OFF = NO LOGS OUT","NO LOGS OUT","1 Log Out","1 Log Out ","1 Log Out "]
["Colin","2025-09-22T09:18:00","RULER only 557 bridge",60,null,"YES","557 is, Town Dam not checked yet",18,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1.5 Logs Out"]
["Zoran","2025-09-21T11:10:00","RULER only 557 bridge",0.61,null,"YES","557 ruler",15,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1.5 Logs Out"]
["Zoran","2025-09-20T11:36:00","ONSITE only Headpond",null,0.62,"YES","Dam and 557 rulers",17,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out ","Both OFF = NO LOGS OUT","NO LOGS OUT","1 Log Out","1 Log Out ","1.5 Logs Out",null,0.61499999999999999]
["Zoran","2025-09-20T11:07:00","RULER only 557 bridge",0.625,null,"YES","557 ruler",17,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Zoran","2025-09-19T15:42:00","ONSITE both Headpond & Powerhouse",null,0.62,"YES","Dam and 557 rulers",19,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Zoran","2025-09-19T13:06:00","RULER only 557 bridge",0.625,null,"YES","557 ruler",19,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Zoran","2025-09-17T12:32:00","ONSITE both Headpond & Powerhouse",null,0.62,"YES","Dam and 557 rulers",23,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Zoran","2025-09-17T09:38:00","RULER only 557 bridge",0.63,null,"YES","557 ruler",17,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Zoran","2025-09-16T12:27:00","ONSITE both Headpond & Powerhouse",null,0.62,"YES","Dam and 557 rulers",22,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Zoran","2025-09-16T09:35:00","RULER only 557 bridge",0.625,null,"YES","557 ruler",15,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Zoran","2025-09-15T12:22:00","ONSITE both Headpond & Powerhouse",null,0.62,"YES","Dam and 557 rulers",22,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Zoran","2025-09-15T09:19:00","RULER only 557 bridge",0.62749999999999995,null,"No, but only 557 checked so far",null,15,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Dana","2025-09-14T09:08:00","RULER only 557 bridge",0.625,null,"YES","557 is, Town Dam not checked yet","15c",null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Dana","2025-09-13T08:13:00","RULER only 557 bridge",0.62,null,"YES","557 is, Town Dam not checked yet","12C",null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Greg","2025-09-12T11:36:00","ONSITE both Headpond & Powerhouse",null,61.5,"YES","Dam and 557 rulers","18 overcast with sunny breaks ",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Greg","2025-09-12T09:37:00","RULER only 557 bridge",62,null,"YES","557 is, Town Dam not checked yet","15 sunny ",null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Greg","2025-09-11T12:22:00","ONSITE both Headpond & Powerhouse",null,62,"YES","Dam and 557 rulers",18,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ",".5 Logs Out","Both OFF = NO LOGS OUT","NO LOGS OUT","1 Log Out","1 Log Out ","1 Log Out "]
["Greg","2025-09-11T09:29:00","RULER only 557 bridge","61.5 bouncing to 62",null,"YES","557 ruler","19 sunny ",null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ",".5 Logs Out"]
["Zoran","2025-09-10T09:28:00","RULER only 557 bridge",0.61,null,"YES","557 is, Town Dam not checked yet",16,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ",".5 Logs Out"]
["Greg","2025-09-09T15:49:00","ONSITE both Headpond & Powerhouse",null,"59.5 on ruler at dam","YES","557 ruler","18 overcast",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","1 Log Out","1 Log Out ","1 Log Out ",".5 Logs Out"]
["Colin","2025-09-09T13:18:00","RULER only 557 bridge",60,null,"YES","557 is, Town Dam not checked yet",17,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ",".5 Logs Out"]
["Colin","2025-09-08T12:00:00","ONSITE both Headpond & Powerhouse",null,59,"NO",null,14,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out ","Both OFF = NO LOGS OUT","NO LOGS OUT","1 Log Out","1 Log Out ",".5 Logs Out","Closed mechanical gate a bit water should rise slowly."]
["Colin","2025-09-08T09:27:00","RULER only 557 bridge",59.5,null,"No, but only 557 checked so far",null,11,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Colin","2025-09-07T07:38:00","RULER only 557 bridge",59,null,"No, but only 557 checked so far",null,5,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Colin","2025-09-06T08:29:00","ONSITE both Headpond & Powerhouse",null,58.5,"NO",null,11,null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","2 Logs Out","Both OFF = NO LOGS OUT","NO LOGS OUT","1 Log Out","1 Log Out ","1 Log Out ","Didnt get rain that was expected so closed mechanical gate a bit to bring into compliance.",58.5]
["Colin","2025-09-06T08:01:00","RULER only 557 bridge",59,null,"No, but only 557 checked so far",null,9,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","2 Logs Out"]
["Matt","2025-09-05T14:31:00","ONSITE only Headpond",null,57,"NO",null,"13c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","3 Logs Out","Both OFF = NO LOGS OUT","NO LOGS OUT","1 Log Out","1 Log Out ","2 Logs Out","Closed gate,will come up on the ruler."]
["Colin","2025-09-05T14:21:00","RULER only 557 bridge",59,null,"NO",null,15,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","3 Logs Out",{"$nulls":5},"Will close up mechanical gate a bit"]
["Colin","2025-09-05T11:06:00","RULER only 557 bridge","Bouncing 59-63",null,"NO",null,16,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","3 Logs Out",{"$nulls":5},"Really windy hard to tell if in compliance or not"]
["Matt","2025-09-04T12:13:00","ONSITE only Headpond",null,63,"YES","Dam ruler","17c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","2 Logs Out","Both OFF = NO LOGS OUT","NO LOGS OUT","1 Log Out","1 Log Out ","3 Logs Out"]
["Colin","2025-09-04T09:30:00","RULER only 557 bridge",64.5,null,"YES","557 is, Town Dam not checked yet",11,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","2 Logs Out"]
["Matt","2025-09-03T12:24:00","ONSITE only Headpond",null,61,"YES","Dam ruler","18c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out ","Both OFF = NO LOGS OUT","NO LOGS OUT","1 Log Out","1 Log Out ","2 Logs Out"]
["Colin","2025-09-03T09:27:00","RULER only 557 bridge",63,null,"YES","557 is, Town Dam not checked yet",19,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Zoran","2025-09-02T12:24:00","RULER only 557 bridge",0.63,null,"YES","557 is, Town Dam not checked yet",24,null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Matt","2025-09-02T11:36:00","ONSITE only Headpond",null,62,"YES","Dam ruler","19c",null,"Jun. 1 to Sep. 30","NO LOGS OUT = Both Off","NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]
["Dana","2025-09-01T08:57:00","RULER only 557 bridge","0.63 (1-2mm less)",null,"YES","557 is, Town Dam not checked yet","14C",null,"Jun. 1 to Sep. 30",null,"NO LOGS OUT","1 Log Out ","1 Log Out ","1 Log Out "]