{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["Read First","Submission Data"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Read First","index":0,"n_rows":28,"n_cols":3,"rows_kept":28,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,null,"Please read the following instructions before completing the Template"]
[]
[null,null,"1. Does the format in which the data is pasted into the Excel template matter?"]
[null,null,"Yes, the format in which the data is pasted into the template does matter. Please check the following before uploading your data to the portal:"]
[null,null,"• That the data is pasted into the correct fields"]
[null,null,"• That the units used are the same as the ones available in the pull-down options. Please note: the dropdown fields are case sensitive"]
[null,null,"• That the pasted data does not contain any embedded formulas"]
[null,null,"• Row 9 of the Excel Template is an example row only and will not be included in your benchmarked data. Please DO NOT delete this example row or any of the rows above this."]
[]
[null,null,"You will receive an error message if data is pasted into the wrong column or with formulas, or pasted units are not the same as the ones available in the pull-down menus."]
[]
[]
[null,null,"2. Why are the units of measurement that I entered into the excel template invalid?"]
[null,null,"Users must select the unit of measurement in the template from the pull down options. Any custom units entered will be considered invalid."]
[]
[]
[null,null,"3. Why do the totals for GHG Emissions and Energy Intensity not calculate automatically on the excel template?"]
[null,null,"The GHG Emissions and Energy Intensity values will calculate automatically once you have completed the data validation process. You do not need to finalize the data for these values to calculate. After the data validation process, you can download the spreadsheet with GHG Emissions and Energy Intensity data via the “Excel template” button on the reporting portal."]
[]
[null,null,"Note: that there are no macros functions in this year’s templates."]
[]
[null,null,"NOTE: Please DO NOT close the browser window during the downloading / uploading of the data. DO NOT move away from the page or close the browser."]
[]
[null,null,"Should you have any additional questions, please visit the Toolkit located on the reporting portal under the “Toolkit” tab on the homepage."]
[]
[null,null,"Otherwise, please feel free to contact us at BPSSupport@ontario.ca"]

{"sheet":"Submission Data","index":1,"n_rows":52,"n_cols":88,"rows_kept":52,"cut":false,"hidden":false,"merged":[[6,33,7,33],[0,1,0,7],[3,2,3,5],[5,0,7,0],[5,1,7,1],[5,2,7,2],[5,3,7,3],[5,4,7,4],[5,5,7,5],[5,6,7,6],[5,7,7,7],[6,34,7,34],[6,35,7,35],[5,8,7,8],[5,9,5,30],[5,31,5,33],[6,9,6,10],[6,11,6,12],[6,13,6,14],[6,15,6,16],[6,17,6,18],[6,19,6,20],[6,21,6,22],[6,23,6,26],[6,27,6,30],[6,31,7,31],[6,32,7,32]]}
["Press TAB to move to input areas. Press UP or DOWN ARROW in column A to read through the document.","Energy Consumption and Greenhouse Gas Emissions Reporting - for 2012",{"$nulls":51},"FloorArea","Electricity","NaturalGas","FuelOil12","FuelOil46","Propane","Coal","Wood","DistrictHeating","DistrictCooling","Renewable",null,"operation Type","Administrative offices and related facilities, including municipal council chambers","Public libraries","Cultural facilities","Indoor recreational facilities","Community centres","Art galleries","Performing arts facilities","Auditoriums","Indoor sports arenas","Indoor ice rinks","Indoor swimming pools","Gyms and indoor courts for playing tennis, basketball or other sports","Ambulance stations and associated offices and facilities","Fire stations and associated offices and facilities","Police stations and associated offices and facilities","Storage facilities where equipment or vehicles are maintained, repaired or stored","Parking garages","Facilities related to the treatment of water","Facilities related to the treatment of sewage","Facilities related to the pumping of water","Facilities related to the pumping of sewage","Other"]
["Confirm consecutive 12-mth period (mth-yr to mth-yr)",{"$nulls":52},"Square feet","kWh","Cubic Meter","Litre","Litre","Litre","Metric Tonne","Metric Tonne","Metric Tonne","Giga Joule","Yes"]
["Sector",{"$nulls":52},"Square meters",null,"Giga Joule",{"$nulls":5},"Giga Joule","KL Chilled Water","No"]
["Agency Sub-sector","CityMunicipality",{"$nulls":53},"ekWh",{"$nulls":5},"KL Hot Water"]
["Organization Name","City of Peterborough","Please fill in the mandatory fields indicated in red, in addition to submitting data on your energy usage."]
["Operation Name","Operation Type","Address","City","Postal Code","Total Floor Area","Unit","Avg hrs/wk","Annual Flow (Mega Litres)","Energy Type and Amount Purchased and Consumed in Natural Units",{"$nulls":21},"Total (calculated in webform)"]
[{"$nulls":9},"Electricity",null,"Natural Gas",null,"Fuel Oil 1 & 2",null,"Fuel Oil 4 & 6",null,"Propane",null,"Coal",null,"Wood",null,"District Heating",null,null,null,"District Cooling",null,null,null,"GHG Emissions (Kg)","Energy Intensity (ekWh/sqft)","Energy Intensity (ekWh/Mega Litre)","Building / Operation Identifier","Comments"]
[{"$nulls":9},"Quantity","Unit","Quantity","Unit","Quantity","Unit","Quantity","Unit","Quantity","Unit","Quantity","Unit","Quantity","Unit","Quantity","Unit","Renewable?","If Yes, enter Emission Factor","Quantity","Unit","Renewable?","If Yes, enter Emission Factor"]
["Stephenson Building","Administrative offices and related facilities, including municipal council chambers","2160 Yonge Street","Toronto","M7A 2G5",135034,"Square meters",70,23516.002240000002,2181065,"kWh",125300,"Cubic meter",null,"Litre",null,"Litre",null,"Litre",null,"Metric Tonne",null,"Metric Tonne",26.73,"Giga Joule","No",0,20.506,"Giga Joule","No",0,{"$nulls":4},"max. 255 characters"]
["Peterborough Sport and Wellness Centre","Indoor recreational facilities","775 Brealey Drive","Peterborough","K9J 6X4",4580,"Square meters",111.5,0,917012,"kWh",96364,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,270258.21270799998,39.375194169002114,0,"Meter #I51240","2012 reporting included 2 pools. 2012 pools removed for separate reporting. PSWC 55% & pools 45% of energy consumption."]
["City Hall","Administrative offices and related facilities, including municipal council chambers","500 George Street North","Peterborough","K9H 3R9",3935,"Square meters",72,0,607671.69999999995,"kWh",58999,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,169905.892441,29.150527629977734,0,"Meter #33077"]
["Memorial Centre","Indoor ice rinks","151 Lansdowne Street West","Peterborough","K0J 1Y4",11150,"Square meters",119,0,2938114,"kWh",531321,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,1286706.2968270001,71.530103294417003,0,"Meter #48060"]
["Northcrest Arena","Indoor ice rinks","100 Marina Boulevard","Peterborough","K9H 6M6",2293,"Square meters",66.989999999999995,0,431910.8,"kWh",9510,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,59460.576002000002,21.594212847388057,0,"Meter #50273"]
["Evinrude Centre","Indoor ice rinks","911 Monaghan Road","Peterborough","K9J 5K6",7899,"Square meters",125,0,2021001,"kWh",121788,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,424352.61711600004,38.992875798234749,0,"Meter #48919"]
["Kinsmen Civic Centre","Indoor ice rinks","1 Kinsmen Way","Peterborough","K9J 2R2",5017,"Square meters",140,0,991730.8,"kWh",87932,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,261492.43939600003,35.669650152480983,0,"Meter #46276"]
["Queen Alexandra Community Centre","Community centres","180 Barnardo Avenue","Peterborough","K9H 5V3",2787,"Square meters",42,0,248193,"kWh",23642,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,68534.659253999998,16.649034420843236,0,"Meter #88128"]
["Art Gallery of Peterborough","Art galleries","250 Crescent Street","Peterborough","K9H 3M6",604,"Square meters",36,0,114670.9,"kWh",15542,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,40397.118070000004,43.044207127283123,0,"Meter #58724, 30395, & 58727"]
["Delafosse Branch Library","Public libraries","729 Park Street South","Peterborough","K9J 3T3",929,"Square meters",15,0,50896.14,"kWh",9475,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,22801.756110599999,15.159922247845772,0,"Meter #88515"]
["Greater Peterborough Area Economic Development Corporation","Administrative offices and related facilities, including municipal council chambers","210 Wolfe Street","Peterborough","K9J 2K9",557,"Square meters",50,0,74261.06,"kWh",8867,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,23896.221811399999,28.104001242544122,0,"Meter #33087"]
["Sherbrooke Fire Station #1","Fire stations and associated offices and facilities","210 Sherbrooke Street","Peterborough","K9J 2N3",1744,"Square meters",168,0,233213.3,"kWh",39251,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,96606.805709000007,34.644944353516848,0,"Meter #88453"]
["Police Station","Police stations and associated offices and facilities","500 Water Street","Peterborough","K9H 3M4",3252,"Square meters",168,0,723260.5,"kWh",38328,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,141925.89007600001,32.298988849856386,0,"Meter #46860"]
["Provincial Offences Office","Administrative offices and related facilities, including municipal council chambers","99 Simcoe Street","Peterborough","K9H 2H3",132,"Square meters",50,0,35641.370000000003,"kWh",1744,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,6720.250662800001,38.129793367533821,0,"Meter #86926"]
["Public Works Operations","Storage facilities where equipment or vehicles are maintained, repaired or stored","182 Townsend Street","Peterborough","K9J 2K3",2265,"Square meters",168,0,165435,"kWh",53871,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,117738.344517,30.268903818003796,0,"Meter #87963"]
["Peterborough Centennial Museum & Archives","Cultural facilities","300 Hunter Street East","Peterborough","K9J 6Y5",929,"Square meters",50,0,161469.9,"kWh",8876,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,32288.774448,25.581030921331273,0,"Meter #88094"]
["Peterborough Main Library","Public libraries","345 Aylmer Street North","Peterborough","K9H 3V7",3716,"Square meters",57,0,384278.3,"kWh",22360,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,79180.507652,15.548386927548213,0,"Meter #30387"]
["Sewage Treatment Plant","Facilities related to the treatment of sewage","425 Kennedy Road","Peterborough","K9J 6X7",0,null,168,15791.3,6785692,"kWh",117092,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,873075.15636399994,0,508.51542713291497,"Meter #I13"]
["Carneige Fire Station #2","Fire stations and associated offices and facilities","161 Carnegie Avenue","Peterborough","K9L 1N2",353,"Square meters",168,0,30247.16,"kWh",15199,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,31640.577019400003,50.472579393497362,0,"Meter#76231"]
["Monaghan Fire Station #3","Fire stations and associated offices and facilities","721 Monaghan Road","Peterborough","K9J 3T3",538,"Square meters",168,0,20273,"kWh",9626,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,20146.194422,21.166684758717484,0,"Meter #86573","Facility closed and sold May 24, 2013."]
["Eastgate Park PCSA Office","Community centres","2150 Ashburnham Road","Peterborough","K9L 1P8",173,"Square meters",60.01,0,59352.959999999999,"kWh",0,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,5700.2582783999997,31.873225681387282,0,"Meter #88491"]
["Peterborough & the Kawarthas Visitor Centre","Community centres","1400 Crawford Drive","Peterborough","K9J 6X6",372,"Square meters",42.96,0,456.79,"kWh",4056,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,7712.2532236000006,10.879404194691762,0,"Meter #80830"]
["Morrow Building","Community centres","155 Lansdowne Street West","Peterborough","K9J 1Y4",2327,"Square meters",46.03,0,167367.29999999999,"kWh",40335,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,92332.395536999989,23.796210562940001,0,"Meter #88084"]
["Street Lights","Other","500 George Street North","Peterborough","K9H 3R9",7673,"Square meters",84,0,5587738,"kWh",0,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,536646.35751999996,67.655105358269253,0,"Meter #I38","Total Floor Space is the street light inventory."]
["City Hall Annex","Administrative offices and related facilities, including municipal council chambers","500 George Street North","Peterborough","K9H 3R9",1625,"Square meters",39.99,0,73881.259999999995,"kWh",0,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,7095.5562103999991,4.2238711986338462,0,"Meter #33330"]
["Simcoe Street Bus Terminal","Administrative offices and related facilities, including municipal council chambers","190 Simcoe Street","Peterborough","K9H 2H7",4024,"Square meters",67,0,152798,"kWh",3343,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,20995.085981,4.3479402474272941,0,"Meter #145","Bus Terminal is 20% of energy consumption, remaining 80% is elevated parking garage."]
["Public Works Garage","Storage facilities where equipment or vehicles are maintained, repaired or stored","182 Townsend Street","Peterborough","K9J 2K3",1325,"Square meters",40,0,190987,"kWh",35914,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,86242.369558000006,40.153236344291116,0,"Meter #87963"]
["Transit Operations Bus Barn Building","Storage facilities where equipment or vehicles are maintained, repaired or stored","182 Townsend Street","Peterborough","K9J 2K3",4045,"Square meters",168,0,266846.5,"kWh",63699,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,146058.98713299999,21.677181407052675,0,"Meter #10505"]
["Burnham Point Pumping Station","Facilities related to the pumping of sewage","64 Edgewater Blvd.","Peterborough","K9H 1A4",0,null,168,49,22458.18,"kWh",0,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,2156.8836071999999,0,458.33020408163264,"Meter #87961","Consolidated with WWTP data in 2011. Split out in 2012."]
["Ashburnham Pumping Station","Facilities related to the pumping of sewage","1880 Ashburnham Drive","Peterborough","K9L 1P9",0,null,168,2347,103899.8,"kWh",7059,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,23324.472785000002,0,76.234034019173421,"Meter #87572","Consolidated with WWTP data in 2011. Split out in 2012."]
["Engleburn Pumping Station","Facilities related to the pumping of sewage","279 Engleburn Blvd","Peterborough","K9H 1S5",0,null,168,29,3992.22,"kWh",0,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,383.41280879999999,0,137.66275862068966,"Meter #87962","Consolidated with WWTP data in 2011. Split out in 2012."]
["Parkhill West Pumping Station #1","Facilities related to the pumping of sewage","43 Parkhill Road West","Peterborough","K9H 5M1",0,null,168,81,4587.72,"kWh",0,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,440.6046288,0,56.638518518518524,"Meter #22116","Consolidated with WWTP data in 2011. Split out in 2012."]
["Parkhill West Pumping Station #2","Facilities related to the pumping of sewage","1100 Parkhill Road West","Peterborough","K0H 3G7",0,null,168,269,72224.95,"kWh",0,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,6936.4841980000001,0,268.49423791821562,"Meter #87962","Consolidated with WWTP data in 2011. Split out in 2012."]
["Monaghan Pumping Station","Facilities related to the pumping of sewage","506 Monaghan Road","Peterborough","K9J 5H6",0,null,168,138,17060.39,"kWh",0,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,1638.4798555999998,0,123.62601449275363,"Meter #87270","Consolidated with WWTP data in 2011. Split out in 2012."]
["Montgomery Pumping Station","Facilities related to the pumping of sewage","506 Montgomery Street","Peterborough","K9J 1W8",0,null,168,116,15514.39,"kWh",58,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,1599.6583816,0,139.05862987931033,"Meter #87252","Consolidated with WWTP data in 2011. Split out in 2012."]
["Peterborough Sport & Wellness Centre Indoor Pools","Indoor swimming pools","775 Brealey Drive","Peterborough","K9J 6X4",836,"Square meters",95,0,750283,"kWh",78843,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,221119.88388099999,176.49445477426787,0,"Meter #I51240","2 pools removed from PSWC data in 2012; included in PSWC for 2011.  Pool is  45% of PSWC energy consumption."]
["Fire Training Facility","Fire stations and associated offices and facilities","839 Clonsilla Ave","Peterborough","333 333",247.03,"Square meters",40,0,2279,"kWh",3843,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,7484.5547209999995,16.217143998554562,0,"Meter #87154"]
["Valleyview Pumping Station","Facilities related to the pumping of sewage","850 Valleyview Drive","Peterborough","K9J 6R1",0,null,168,71,7312.64,"kWh",0,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,702.30594560000009,0,102.99492957746479,"Meter #87312"]
["Simcoe Pumping Station","Facilities related to the pumping of sewage","73 Simcoe Street","Peterborough","K9J 6X4",0,null,168,135,21547.47,"kWh",0,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,2069.4190188000002,0,159.61088888888889,"Meter #87671","Consolidated with WWTP data in 2011. Split out in 2012."]
["Provincial Court House","Administrative offices and related facilities, including municipal council chambers","70 Simcoe Street","Peterborough","K9H 2J3",132,"Square meters",50,0,728242.6,"kWh",0,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,69940.419303999995,512.54486566515152,0,"Meter #43639"]
["Airport Pumping Station","Facilities related to the pumping of sewage","925 Airport Road","Peterborough","K9J 5K6",0,null,168,35,46896,"kWh",0,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,4503.8918400000002,0,1339.8857142857144,"Airport"]
["Landfill North Fill Area Pumping Station","Facilities related to the pumping of sewage","1260 Bensfort Road","Peterborough","K9J 0G7",0,null,168,25,67048,"kWh",0,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,6439.2899200000002,0,2681.92,"NFA","50% of NFA energy consumption"]
["Landfill South Fill Area Pumping Station","Facilities related to the pumping of sewage","1260 Bensfort Road","Peterborough","K9J 0G7",0,null,168,56,39647,"kWh",0,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,3807.6978800000002,0,707.98214285714289,"SFA"]
["Clonsilla Fire Station #3","Fire stations and associated offices and facilities","839 Clonsilla Ave","Peterborough","333 333",1611.82,"Square meters",168,0,122419,"kWh",26136,"Cubic Meter",0,"Litre",0,"Litre",0,"Litre",0,"Metric Tonne",0,"Metric Tonne",0,"Giga Joule",null,null,0,"Giga Joule",null,null,61170.548031999999,23.066182210958925,0,"Meter #86573","New Fire Station opened May 2012."]