# DUNDALK STORMWATER MANAGEMENET SYSTEM

# 2025 Annual Performance Report 110-S701

May 2026

Prepared by: The Township of Southgate

#### TABLE OF CONTENTS

Introduction	3

Background	3

SWM System Description	4

System Summary	4

  - Monitoring Data & Interpretation	4

  - Summary and Interpretation of Environmental Trends	4

  - Summary of Operating Problems and Corrective Actions	4

  - Summary of Inspection and Maintenance Activities	5

  - Summary of Calibration and Maintenance on Monitoring Equipment	5

  - Summary of Complaint Related to the SWM System	5

  - Summary of Alterations to the Authorized System	5

  - Summary of Spills or Abnormal Discharge Events	6

  - Summary of Performance Improvements or Corrections	6

  - Summary of Status of Action Items from Previous Reporting Year	6

  - Summary of Action items for the Calendar year 2026……………………………………………………………………………………………..6

Closing	6

LIST OF APPENDICES

### Appendix A – Storm Infrastructure Maps

# Introduction

The Township of Southgate has prepared this Annual Performance Report (Performance Report) covering Calendar Year 2025 for the Township’s Municipal Stormwater Management (SWM) System (SWM System or Authorized System), consistent with the requirements of Schedule E, Condition 5.2 of the Township’s Consolidated Linear Infrastructure Environmental Compliance Approval (CLI ECA) No. 110-S701 Issue No. 1, dated March 2nd, 2023.

# Background

An Operations and Maintenance (O&M) Manual, dated June 12th, 2023, has been prepared for the Township’s SWM System, in accordance with Schedule E, Condition 3.2 of the CLI ECA No. 110-S701, Issue No. 1.

The information collected in accordance with the O&M Manual is to be compiled into the Performance Report for the SWM System and submitted to the MECP Director on or before April 30th of each year, covering the period from January 1st to December 31st of the preceding calendar year. Consistent with the CLI ECA for the Township’s SWM System, each Performance Report shall contain, but not be limited to, the following:

- Summary of all monitoring data, as well as an interpretation of the data and overview of the condition and operational performance of the Authorized System and any adverse effects on the natural environment.

- Summary and interpretation of environmental trends based on all monitoring information and data for the previous five (5) years.

- Summary of any operating problems encountered, and corrective actions taken.

- Summary of all inspections, maintenance and repairs carried out on any major structure, equipment, apparatus, mechanism, or thing forming part of the Authorized System.

- Summary of the calibration and maintenance carried out on all monitoring equipment.

- Summary of any complaints related to the SWM System received during the reporting period and steps taken to address the complaints.

- Summary of all alterations to the Authorized System within the reporting period that were authorized by the CLI ECA, including a list of alterations that pose a Significant Drinking Water Threat. Any drawings maintained for the SWM System must be updated to reflect alterations to the Authorized System within 12-months of them being placed into service.

- Summary of all spills or abnormal discharge events.

- Summary of actions taken, including timelines, to improve or correct performance of any aspect of the Authorized System.

- Summary of the status of actions for the previous reporting year.

The Performance Report is to be made available, on request and without charge, to the public who are served by the Authorized System and shall be published electronically to the Owner’s internet website for free public viewing by June 1st of the same reporting year. Therefore, the Performance Reports for the SWM System can be viewed at the following locations:

  - Electronic copy format at https://www.southgate.ca/

# SWM System Description

The Township’s SWM System is composed of the Dundalk SWM system and the Harris and Hoffman subdivision private SWM systems.

The Dundalk SWM system is designed to manage stormwater (i.e., not designed to convey sanitary sewage or combined sewage) and consists of a combination of storm sewers, culverts, ditches/swales, SWM facilities and outlets (i.e., stormwater collection and SWM facilities). Details of the Township’s SWM System are provided in Schedule B of CLI ECA No. 110-S701, Issue No. 1.

# System Summary

SWMF includes Aunt Mary’s Storm Pond, Uncle Tom’s Storm Pond East, Uncle Tom’s Storm

West (Hoffman Subdivision ECA 6665-6HPSXE), Elm St Storm Pond (Flato West ECA # 6031-   ACPJE4), Sheffield Storm Pond.

There are several developer operated SWMF which include: Todd Crescent East, Todd Crescent       West, Moody St, Russell St, Glen Elg St and Milliner Ave.

## Monitoring Data & Interpretation

Site visits were conducted as necessary to ensure that the operation is in accordance with the conditions of the CLI ECA. These routine activities did not identify any operational issues that needed to be addressed by appropriate remedial measures.

## Summary and Interpretation of Environmental Trends

There has not been sufficient monitoring data collected for the Township’s SWM System to interpret environmental trends. It is anticipated that environmental trends can be interpreted after a period of 5 years of monitoring data collection, which began in the Calendar Year 2024.

## Summary of Operating Problems and Corrective Actions

There were no known operating problems encountered in regard to the Township’s SWM System during Calendar Year 2025.

## Summary of Inspection and Maintenance Activities

Site visits were conducted as necessary to ensure that the operation is in accordance with the conditions of the CLI ECA. These routine activities did not identify any operational issues that needed to be addressed by appropriate remedial measures.  Signage was installed in June of 2025 at all Southgate maintained SWMF.

| Date | SWMF | Activity | Comments |
| --- | --- | --- | --- |
| 05/21/2026 | Sheffield Storm Pond | Annual inspection | No comments |
| 05/21/2026 | Elm St Storm Pond | Annual inspection | No comments |
| 06/11/2026 | Sheffield Storm Pond | Installed sign |  |
| 06/11/2026 | Elm St Storm Pond | Installed signs |  |
| 06/16/2026 | Aunt Mary’s Storm Pond | Annual inspection | Installed sign |
| 06/16/2026 | Uncle Tom’s Storm Pond East | Annual inspection |  |
| 06/16/2026 | Uncle Toms’s Storm Pond West | Annual inspection |  |
| 06/24/2026 | Uncle Tom’s Storm Pond East | Installed sign |  |
| 06/24/2026 | Uncle Tom’s Storm Pond West | Installed sign |  |

## Summary of Calibration and Maintenance on Monitoring Equipment

There is no monitoring equipment associated with the Township’s SWM System, therefore, there are no calibration and/or maintenance activities on monitoring equipment to report for Calendar Year 2025.

## Summary of Complaint Related to the SWM System

There were no known complaints received related to the Township’s SWM System in Calendar Year 2025.

## Summary of Alterations to the Authorized System

Alterations made to the authorized system in 2025 years and/or corrections from the CLI-ECA 110-S701 Issue No. 1 are as follows:

Table B1, Infrastructure Maps to be updated and replaced with the following maps (included in Appendix A).:

    - Southgate Stormwater Management System – Infrastructure Map dated April 2025.

Alterations authorized in 2024 under CLI ECA No. 110-S701 Issue No. 1 are summarized below.

- Within the System the following sewers are currently owned and operated by the developer under the existing ECA Number 0612-C35HWP.

  - Flato Developments East Phases 7, 8, and 10

o 858m > 250 – 500mm

o 1,202m > 500 – 1050mm

o 0.332m > 1050mm

- Within the System the following sewers are currently under construction and will be owned by the developer. Director notification will be provided under separate cover.

  - Flato Developments East Phase 11

o 1,045 km > 250 – 500mm

o 532 km > 500 – 1050mm

    - Stormwater Management Facility

- Within the System the following sewers are currently under construction and will be owned by the developer. Director notification will be provided under separate cover.

o 285m > 250 – 500mm

- Stormwater Management Facility

## Summary of Spills or Abnormal Discharge Events

There were no known spills or abnormal discharge events related to the Township’s SWM System in Calendar Year 2025.

## Summary of Performance Improvements or Corrections

Typical routine operation activities completed during the reporting period include grass cutting and vegetation and weed control.

Street sweeping was conducted in April 2025 as part of the Township’s typical maintenance schedule. Street sweeping following the spring snowmelt reduces pollutant loads and suspended solids accumulation within downstream receivers (i.e., ditches, storm sewers, and SWM facilities, etc.).

## Summary of Status of Action Items from Previous Reporting Year

There were no action items from the previous report in 2024.

  - Summary of Action Items for the Calendar year of 2026

Conduct annual inspections of SWMF.

Complete sampling requirements for the Elm St storm pond.  3 samples taken after 15mm of precipitation in the preceding 24 hours.  Samples tested for TSS and temperature.  2 samples taken between May and September.

# Closing:

The above Annual Performance Report is respectfully Submitted on behalf of the Township of Southgate.

Cory Henry

Public Works Manger – Water Operations

STREETC

SWMF

FUTURE ROW

STREETD

OPEN

PARK

SPACE

STREETB

STREETA

STREETF

STREETH

STREETI

FUTURE ROW

OPEN

STREETA

MCKENZIEST.

SWMF

STREETE

STREETG

STREETB

OGS

TODD CR.

STREET B

BRADLEYSTREET EXTENSION

450	450  450

250

300

STREET D

CORBETTST.

SPACE

TOWNSHIP OF SOUTHGATE

FENNELLST.

AITCHISONAVE.

STREET C

300

250

300

250 250 250 250 250

250

300  250 250  250 250

300

WETLANDBUFFER

WETLANDLIMIT

OGS

SIGNIFICANTWILDLIFEHABITAT/WETLAND

SWMF

200

STREET A

MIDDLETONST.

CORBETTST.

DOCLOUGHEEDAVE.

SWMF

300

400 CSP

450 CSP

450 CSP

400 CSP 450 CSP

500 CONC.

DOYLE ST.

250

300

WILSON CRT.

SWMF

450 CSP

450 CSP

GLENELG ST.

BRADLEY ST.

300 CSP

PINE CRT.

375

500 CSP

GREY ST.

600 500

375

450	450

450 CSP

300

HIGHPOINT ST.

300 CSP

450 CSP

600 CSP

750

300

450

1050 CSP

450 CSP

1630x1120 CSP

375

300

300 300

450

375

250

600

450

600

200

200

450 CSP

500

DUNDALK FIRE DEPARTMENT

450

450

450

250

750

DUNDALK ST.

200

200 CSP

250

600

450 CSP 450 CSP

KING'S HIGHWAY No. 10

450 CSP

600 x 600 CONC.

450

300

300

TORONTO ST.

250

600

McGREGOR CRT.

300

450 CSP 450 CSP

KEPPEL (ROW)

600

300

750

OSPREY ST.

MILL ST.

300

375

450 CSP

375

750   750

PROTON ST.

300

450 CSP

IDA ST.

450 CSP

200

300

250

330

200

BRAEMORE ST. W.

375

CSP

BRAEMORE ST. E.

MACDOWELL ST.

3 - 750 CSP

600

D4 WATER TOWER

300

WELL D4

300

600

OWEN SOUND ST.

300

HOLLAND ST.

300

HIGH POINT

300

PROTON ST.

PUBLIC SCHOOL

300

300

McAULEY (ROW)

300

300

200

MAIN ST. WEST

1.65w x 0.95h CSPA

300

300

300

300

600

300

300

300

ARTEMESIA ST.

1650 x 1100

300

1050 CSP

150

250

300

750

MAIN ST. EAST

300

1800 x1200 CSPA

150

450 CSP

ARENA

300

300

300 300

450

LEGEND:

450

375

375

375   375

PROPERTY

300

150

450

300

200

150

450

300

300

300

150

300

450

450

380

300

300

300 300

600

450

375

750

300

300

300

1090x1725

1800x1200 CSP

450

300

450

450

200

450  450

450  450

300

300

1475x910 CSPA

380

1475 x 910 C30S0PA

200

YOUNG ST.

300 (NOT CONFIRMED IF REMOVED)

300 (NOT CONFIRMED IF REMOVED)

300

300 300

300

750

450

375	375 300

300

McAULEY ST.

200

300

300

200

1200x900

1.72 x 1.1

200

915 CSP

VICTORIA ST.

250

250

450

450

250

ALICE ST.

200

200

375

375

375

250

450

300

200	200

250

300

375

1200 CSP

525

TOWNSHIP OF SOUTHGATE BOUNDARY EXISTING PROPERTY LINE

SINCLAIR ST.

PROPOSED DEVELOPMENT PARCELS WATERCOURSES

250

250

250

WETLAND (GRCA)

450 CSP

100  150

300

450 CSP

1600 x 1000 CSPA

900 CSP

200

375

NIXON ST.

300 (NOT CONFIRMED IF REMOVED)

300

300	300

CONCRETE CULVERT

250

450

250

450

1800x900 CONC BOX CULVERT

450

750

250 375

SHEFFIELD ST.

450

250

525

300

675

675

FACILITY

675

600 CSP

300

RUSSEL ST.

375 375

STRUCTURES

450

525

525

300

300

WELL D3

375

ROWE'S LN

ELM ST.

300

375

300

300

6.0m WIDE x 0.9m RISE

375

300

13.2m LENGTH OPEN BOTTOM PRECAST CONCRETE CULVERT

300  750 525 600

525

600

375

300

750

WERRY AVE.

300

300

29.0m LENGTH PLATE CSP BOX CULVERT

4500x1400mm OPEN BOTTOM ARMTEC BRIDGE

RUSSELL ST.

375

300

375

450

RIDLEY CR.

250

STORM MANAGEMENT

600 CSP

375  375

375

375

375

375

300

600 CSP

600 CSP

STORM MANHOLE

CATCHBASIN AREA DRAIN

600 CSP

HANBURY ST.

MORROW CIR.

BELL CIR.

15.25m EASEMENT

375

300

300

300

300

300

300

300

300

600

300

600 CSP

300

300

300

600

28.0m LENGTH PLATE CSP BOX CULVERT

HAGAN

525

300

600

ST.

PROTON

GOLD ST. 375

250

450

300

250

2-12.0m OF 1630mmx1120mm ARCH CULVERT

300 CSP

300

300

450 CSP

825

825

450 CSP

375

300

300

300

300

WELL D5

600 CSP

300

300

600

250

250

750

250

HAGAN STREET

900

ELM ST.

WERRY AVE.

OGS

250

525

300

300

300

525

300

525

375 375

375

300

300

300

300

300  300

VANDUSEN AVENUE

300

825

525

300

300

600

300

300

900

300  300

SEELEY AVE.

900   900 900

300

300

250

300

250

300

450

300

300

375

450

300

300

300

300

300

525

675

675

675

VANDUSEN AVENUE

825

825

300

300 450 525

300

300

300

375

4500x1400mm OPEN BOTTOM ARMTEC BRIDGE

300

750

750

300

300

750

675

375

375

300

375

RIDLEY CR.

300

375

825

375

900

600

PARK

450

525

600 HDPE

600 CSP

500 HDPE

300

300   750

525

300

450 CSP 300 CSP

DIAMETER (mm)

600 CSP

300

FLOW DIRECTION STORM SEWER

DIAMETER (mm)

380 CSP MATERIAL

CULVERT DITCH/DRAIN

300

300

CATCHMENT BOUNDARY

300

525

400 CSP  450 CSP 450 CSP450 CSP

450 CSP

900

250

250

COMMUNITY SCHOOL

300

2 - 750 HDPE

825

300

OGS

450

375

450

MOODY STREET

350 CSP

900

300

375 375

300

300

300

MOODYST.

375

300

1200

RUSSELLST.

375

375

525

1200

375

250

825

300

300

300   300

375

STOCKSAVE.

VANDUSENAVE.

300

300

525

300    675

SPS

375

375

375

375

300  300  300 300 300

300

300

COLGANCRES.

300

300

300   300

300

300

300

300

300

300

CATCHMENT I.D. CATCHMENT INDICATOR

AREA (HECTARES)

300

300

ISOLATED / CONTAINED

450 CSP 400 CSP 450 CSP

450

300

300

300

300

300

1200

300

300

300

WRIGHTAVE.

RUSSELLST.

825

MORGANAVE.

675

300

STORM SYSTEM

1200

1200

675

525

450

750

750

750

750

750

750

900

300

MILLNERAVE.

750

300

MCALLISTERST.

300

300  375

450

300

300

300  300

300

300

400 CSP

975

SWMF

900

975

1200

750  825

300

300

900

1200

1200

300

300

300

375

300

300

300 300

300	375

300

450 CSP

IDA ST.

600

2400mm WIDE x 1200mm RISE

300

300

300

300

525

SYMINGTONST.

450  300

300	450

300

450

MILLINERAVE.

COMMERCIAL DEVELOPMENT

450

675

450 CSP  450 CSP

450 CSP

450 CSP

525

675

675

675

675

MSWF

22.0m LENGTH CONC. BOX CULVERT

SWMF

675

750

750

450

675

450

675

450

600

600

450

300

450 CSP  300 CSP

1800mm WIDE x 1200mm RISE

15.0m LENGTH

PRECAST CONCRETE BOX CULVERT

300 CSP

300 CSP

300 CSP

ECO-PARKWAY

300 CSP

300 CSP

17.5m LENGTH

3000mm WIDE x 2400mm RISE PRECAST CONCRETE BOX CULVERT

300 CSP

450 CSP

300 CSP

OTHER

COMMUNITIES

BOUNDARY BETWEEN TOWNSHIP OF

SOUTHGATE AND

WELLINGTON NORTH

203

#### Harris Subdivision

#### 201/202

#### Hoffman Subdivision

BRIDGE

250

400Ø CELL 1 EMERGENCY OVERFLOW

500Ø P.E. POST AERATION EFFLUENT

WASTEWATER TREATMENT FACILITY

900 CSP

250

250

DUNDALK LAGOONS

DUNDALK LAGOONS

FUTUREROW

NOTES:

This is a schematic representation of the storm sewer collection system. While this drawing and its detail views are shown to a scale, symbols and storm sewers are not plotted to scale. This mapping should be used for general reference purposes only.

DUNDALK STORM AND DRAINAGE SYSTEM

JANUARY 2025

SCALE 1:3,000 A4179 R02 / A4160 R44/R45